## N1E
Machine Module	N9343C	CN0605A298
MCU Version	A.06.27
DSP Version	A.05.02.02 SA
FPGA Version	A.02.80
03:27:58 07.09.2020
Y Axis Scale	LOG
Y Axis Unit	dBm
Impedance	50
Number of Points	461
Sweep Time(s)	0.971373	AUTO
Start Frequency	0
Stop Frequency	100000000
Frequency Offset	0
Average Type	Log Pwr
RBW	1000	MAN
VBW	1000	AUTO
Sweep Type	Continuous
Sweep Mode	Sweep
Speed	Fast
PreAmp State	OFF
Ref Level	-40
Attenuation	0	MAN
Ref Level Offset	0
X Axis Units	Hz
HiSensitive	OFF
Trigger Source	FreeRun
Trigger Level	0
Trigger Slope	RISE
Trigger Delay	0	OFF
Gate Sweep	OFF
Gate View	OFF
Gate Delay	0.00228
Gate Length	0.00084
Gate Source	External
Burst Level	-20
Burst Trigger Slope	Rise
Timer Period	0.00312
Timer Offset	0
Sync Source	Off
Apply Corrections	OFF
Antenna Unit	OFF
Correction1	Off
Correction2	Off
Correction3	Off
Correction4	Off
Marker Information
CISPR Filter	Normal RBW	Dwell Time(s)	0.5	AUTO
Trace Math	Off
Trace Math By	Log Power
Trace Variable A	Trace1
Trace Variable B	Trace2
Trace Variable C	Trace3
Trace Name	Trace1
Trace Count	1
Trace Type	Clear Write
Trace Detector	Pos Peak
Trace Data
0	-25.85983467
217391.3043	-81.52479553
434782.6087	-83.45323944
652173.913	-92.79727936
869565.2174	-95.59589386
1086956.522	-97.9923172
1304347.826	-95.95785522
1521739.13	-71.79412079
1739130.435	-97.11074829
1956521.739	-95.97800446
2173913.043	-96.81368256
2391304.348	-96.86431122
2608695.652	-97.04830933
2826086.957	-98.05465698
3043478.261	-97.28882599
3260869.565	-96.32720947
3478260.87	-94.5124054
3695652.174	-96.26218414
3913043.478	-94.82979584
4130434.783	-97.5760498
4347826.087	-91.01906586
4565217.391	-95.83571625
4782608.696	-94.88892365
5000000	-95.91654205
5217391.304	-87.50869751
5434782.609	-93.99822235
5652173.913	-95.05867767
5869565.217	-89.15969086
6086956.522	-95.94361115
6304347.826	-95.35147858
6521739.13	-95.72979736
6739130.435	-95.19229126
6956521.739	-94.71575928
7173913.043	-95.71866608
7391304.348	-94.37441254
7608695.652	-94.60588837
7826086.957	-93.71494293
8043478.261	-93.99269104
8260869.565	-86.30161285
8478260.87	-94.84381104
8695652.174	-94.59796143
8913043.478	-93.0552597
9130434.783	-93.95487976
9347826.087	-93.28572845
9565217.391	-94.8536911
9782608.696	-90.09545135
10000000	-89.95294189
10217391.3	-93.67268372
10434782.61	-82.05245209
10652173.91	-87.38283539
10869565.22	-82.14315033
11086956.52	-81.47119141
11304347.83	-83.38462067
11521739.13	-87.59196472
11739130.43	-94.10332489
11956521.74	-94.38790131
12173913.04	-93.45040131
12391304.35	-94.27173615
12608695.65	-92.39792633
12826086.96	-91.00740814
13043478.26	-90.20307922
13260869.57	-93.12545013
13478260.87	-93.61146545
13695652.17	-95.49898529
13913043.48	-94.67513275
14130434.78	-94.09124756
14347826.09	-94.2490921
14565217.39	-93.49429321
14782608.7	-94.19545746
15000000	-90.78211212
15217391.3	-95.2995224
15434782.61	-94.37268066
15652173.91	-95.08291626
15869565.22	-88.81776428
16086956.52	-93.19755554
16304347.83	-95.3808136
16521739.13	-94.06845093
16739130.43	-94.85229492
16956521.74	-92.12770081
17173913.04	-92.52792358
17391304.35	-93.05602264
17608695.65	-93.95643616
17826086.96	-92.69833374
18043478.26	-94.35645294
18260869.57	-93.61487579
18478260.87	-92.26618195
18695652.17	-95.0699234
18913043.48	-93.18491364
19130434.78	-94.6870575
19347826.09	-93.19267273
19565217.39	-93.86693573
19782608.7	-93.40346527
20000000	-93.74965668
20217391.3	-93.45513153
20434782.61	-94.09299469
20652173.91	-91.38127136
20869565.22	-91.54101563
21086956.52	-90.83725739
21304347.83	-89.68468475
21521739.13	-88.65333557
21739130.43	-88.49009705
21956521.74	-90.52347565
22173913.04	-89.98383331
22391304.35	-90.87407684
22608695.65	-91.9960556
22826086.96	-92.99723816
23043478.26	-88.32858276
23260869.57	-93.09169769
23478260.87	-92.52314758
23695652.17	-93.85131836
23913043.48	-92.67620087
24130434.78	-93.05443573
24347826.09	-92.5111618
24565217.39	-94.55284882
24782608.7	-93.09964752
25000000	-93.61112976
25217391.3	-92.09770203
25434782.61	-94.57054901
25652173.91	-92.91892242
25869565.22	-93.30625153
26086956.52	-93.00852203
26304347.83	-92.65493011
26521739.13	-91.55898285
26739130.43	-93.2559433
26956521.74	-92.7491684
27173913.04	-89.55735016
27391304.35	-89.29692078
27608695.65	-93.53157806
27826086.96	-95.08892059
28043478.26	-92.42508698
28260869.57	-89.0894165
28478260.87	-88.28336334
28695652.17	-84.7520752
28913043.48	-92.32183075
29130434.78	-83.56997681
29347826.09	-89.16958618
29565217.39	-88.48428345
29782608.7	-90.15366364
30000000	-89.38851166
30217391.3	-95.58555603
30434782.61	-94.95948792
30652173.91	-93.32692719
30869565.22	-95.14678192
31086956.52	-93.28712463
31304347.83	-91.91804504
31521739.13	-90.0557785
31739130.43	-94.85525513
31956521.74	-89.22934723
32173913.04	-94.00666046
32391304.35	-93.12731934
32608695.65	-87.1026535
32826086.96	-88.42290497
33043478.26	-88.93947601
33260869.57	-90.34416199
33478260.87	-84.73158264
33695652.17	-92.27598572
33913043.48	-90.77883148
34130434.78	-84.025383
34347826.09	-88.62281799
34565217.39	-82.39258575
34782608.7	-87.33350372
35000000	-86.32752991
35217391.3	-89.50859833
35434782.61	-84.53591919
35652173.91	-91.21697235
35869565.22	-91.51511383
36086956.52	-89.4776535
36304347.83	-94.23898315
36521739.13	-92.15555573
36739130.43	-92.99217224
36956521.74	-93.06841278
37173913.04	-93.45262909
37391304.35	-93.35303497
37608695.65	-90.68173981
37826086.96	-93.85617828
38043478.26	-94.43904114
38260869.57	-90.530159
38478260.87	-94.21009064
38695652.17	-95.13935852
38913043.48	-89.65003204
39130434.78	-93.21250916
39347826.09	-95.0249939
39565217.39	-91.45495605
39782608.7	-89.84415436
40000000	-91.62124634
40217391.3	-91.84776306
40434782.61	-89.35876465
40652173.91	-93.00289154
40869565.22	-94.39971161
41086956.52	-95.42666626
41304347.83	-94.30116272
41521739.13	-93.3152771
41739130.43	-95.62358856
41956521.74	-95.39034271
42173913.04	-93.61904144
42391304.35	-95.17034149
42608695.65	-94.6495285
42826086.96	-94.13187408
43043478.26	-93.08802032
43260869.57	-95.78554535
43478260.87	-90.50920868
43695652.17	-90.62676239
43913043.48	-91.41788483
44130434.78	-96.42682648
44347826.09	-97.77541351
44565217.39	-95.4597168
44782608.7	-94.77906036
45000000	-93.32727814
45217391.3	-93.72510529
45434782.61	-94.6190567
45652173.91	-88.04397583
45869565.22	-87.79156494
46086956.52	-93.36407471
46304347.83	-94.54268646
46521739.13	-95.19308472
46739130.43	-95.91030884
46956521.74	-95.51416779
47173913.04	-96.09780121
47391304.35	-95.67907715
47608695.65	-93.50726318
47826086.96	-91.37747955
48043478.26	-96.98635101
48260869.57	-96.80064392
48478260.87	-96.33081055
48695652.17	-96.41785431
48913043.48	-96.78324127
49130434.78	-96.8052597
49347826.09	-96.1979599
49565217.39	-98.05658722
49782608.7	-96.59294128
50000000	-92.81307983
50217391.3	-96.04931641
50434782.61	-95.59272003
50652173.91	-97.05445099
50869565.22	-96.68907928
51086956.52	-98.73722076
51304347.83	-94.84809113
51521739.13	-97.79259491
51739130.43	-93.63314056
51956521.74	-97.48905182
52173913.04	-98.96800995
52391304.35	-97.42645264
52608695.65	-98.12715912
52826086.96	-100.2315216
53043478.26	-99.79224396
53260869.57	-98.78741455
53478260.87	-99.3391571
53695652.17	-98.98053741
53913043.48	-99.69351959
54130434.78	-98.95795441
54347826.09	-98.49525452
54565217.39	-100.7545013
54782608.7	-98.18077087
55000000	-100.3906174
55217391.3	-99.90385437
55434782.61	-99.75753021
55652173.91	-101.4943008
55869565.22	-101.2814865
56086956.52	-102.4846268
56304347.83	-99.18972015
56521739.13	-102.7865067
56739130.43	-101.4101486
56956521.74	-101.4476318
57173913.04	-100.2663651
57391304.35	-99.50002289
57608695.65	-102.3043137
57826086.96	-102.4797745
58043478.26	-100.9690857
58260869.57	-100.4566116
58478260.87	-102.0342026
58695652.17	-102.0750885
58913043.48	-100.556488
59130434.78	-103.3810806
59347826.09	-99.54850769
59565217.39	-100.9769821
59782608.7	-102.5965271
60000000	-101.7704315
60217391.3	-95.62438202
60434782.61	-101.4888687
60652173.91	-100.2497406
60869565.22	-102.4900818
61086956.52	-103.122467
61304347.83	-101.2621689
61521739.13	-103.1261826
61739130.43	-103.3374481
61956521.74	-102.4578857
62173913.04	-103.8254395
62391304.35	-103.7862854
62608695.65	-101.7635498
62826086.96	-100.3635559
63043478.26	-102.6675415
63260869.57	-102.8268356
63478260.87	-102.9501419
63695652.17	-103.9468307
63913043.48	-105.0773392
64130434.78	-104.3851547
64347826.09	-103.2902908
64565217.39	-104.7674942
64782608.7	-104.4142532
65000000	-105.8256683
65217391.3	-105.1859512
65434782.61	-105.2922211
65652173.91	-105.6948471
65869565.22	-104.6789474
66086956.52	-104.610672
66304347.83	-105.7681274
66521739.13	-104.9784775
66739130.43	-106.3584824
66956521.74	-106.6799927
67173913.04	-105.8099213
67391304.35	-106.3161621
67608695.65	-105.8182678
67826086.96	-105.8850174
68043478.26	-107.3367844
68260869.57	-105.7694931
68478260.87	-105.1250687
68695652.17	-102.1343307
68913043.48	-105.2725449
69130434.78	-106.4261246
69347826.09	-106.7381668
69565217.39	-106.5371323
69782608.7	-107.6519394
70000000	-106.2830124
70217391.3	-105.9578247
70434782.61	-103.768692
70652173.91	-107.4392319
70869565.22	-105.0883865
71086956.52	-105.8661118
71304347.83	-105.7525635
71521739.13	-107.4509277
71739130.43	-106.6476593
71956521.74	-104.8810501
72173913.04	-106.9157257
72391304.35	-106.4674759
72608695.65	-108.2301712
72826086.96	-108.0073624
73043478.26	-107.9075089
73260869.57	-106.6224899
73478260.87	-106.2929306
73695652.17	-106.9605789
73913043.48	-107.7156525
74130434.78	-106.5322266
74347826.09	-107.618927
74565217.39	-107.9107437
74782608.7	-106.8435822
75000000	-107.33078
75217391.3	-107.2783432
75434782.61	-108.0350266
75652173.91	-107.9095535
75869565.22	-108.2454147
76086956.52	-106.1548691
76304347.83	-106.0728607
76521739.13	-107.8761902
76739130.43	-105.8556519
76956521.74	-107.4790115
77173913.04	-104.8057022
77391304.35	-106.5698013
77608695.65	-108.6070099
77826086.96	-107.3277969
78043478.26	-107.4771576
78260869.57	-106.4663849
78478260.87	-108.118927
78695652.17	-105.0128403
78913043.48	-107.4168625
79130434.78	-106.501503
79347826.09	-106.1693726
79565217.39	-107.2203979
79782608.7	-106.2168884
80000000	-106.8736038
80217391.3	-106.1365356
80434782.61	-106.1543121
80652173.91	-106.6208572
80869565.22	-105.8970718
81086956.52	-106.6005478
81304347.83	-103.5339279
81521739.13	-105.4012375
81739130.43	-106.2606125
81956521.74	-104.7366257
82173913.04	-106.5912704
82391304.35	-104.3341141
82608695.65	-105.6550369
82826086.96	-104.3372498
83043478.26	-105.6592255
83260869.57	-104.9933167
83478260.87	-104.9609375
83695652.17	-105.3929291
83913043.48	-105.6544647
84130434.78	-103.192627
84347826.09	-104.7153625
84565217.39	-105.2706604
84782608.7	-103.6038589
85000000	-104.5547562
85217391.3	-104.6643372
85434782.61	-104.9936447
85652173.91	-104.6821213
85869565.22	-104.9532852
86086956.52	-104.783638
86304347.83	-105.0726242
86521739.13	-105.7173996
86739130.43	-105.0797958
86956521.74	-106.2480392
87173913.04	-104.00737
87391304.35	-106.1987076
87608695.65	-105.901413
87826086.96	-107.6663132
88043478.26	-107.8980255
88260869.57	-107.1478577
88478260.87	-108.4174576
88695652.17	-108.313179
88913043.48	-106.5733032
89130434.78	-95.25305176
89347826.09	-107.8011627
89565217.39	-108.2317657
89782608.7	-89.36365509
90000000	-97.3272934
90217391.3	-108.1470261
90434782.61	-108.1883163
90652173.91	-97.14398956
90869565.22	-106.8583908
91086956.52	-106.0251541
91304347.83	-106.8928375
91521739.13	-107.8130493
91739130.43	-109.2098389
91956521.74	-107.3290558
92173913.04	-108.977066
92391304.35	-105.4549103
92608695.65	-107.5897751
92826086.96	-108.8749847
93043478.26	-110.0216064
93260869.57	-108.3954239
93478260.87	-107.938179
93695652.17	-107.0731354
93913043.48	-107.880127
94130434.78	-108.072197
94347826.09	-108.0322876
94565217.39	-108.6897736
94782608.7	-107.8438416
95000000	-106.1000671
95217391.3	-109.1008453
95434782.61	-109.1069031
95652173.91	-109.4616241
95869565.22	-108.8917007
96086956.52	-107.431839
96304347.83	-109.2042236
96521739.13	-107.7654572
96739130.43	-108.3502274
96956521.74	-107.8866577
97173913.04	-108.9592667
97391304.35	-108.8334045
97608695.65	-108.4830093
97826086.96	-108.3829269
98043478.26	-109.0582657
98260869.57	-107.9573898
98478260.87	-109.2187119
98695652.17	-109.4725418
98913043.48	-108.8596115
99130434.78	-98.83010864
99347826.09	-108.7980423
99565217.39	-109.3657684
99782608.7	-110.1364136
100000000	-108.2461929

## N1E_2
Frequency [Hz]	Frequency [MHz]	Power [dBm]
0	0	-25.85983467
217391.3043	0.2173913043	-81.52479553
434782.6087	0.4347826087	-83.45323944
652173.913	0.652173913	-92.79727936
869565.2174	0.8695652174	-95.59589386
1086956.522	1.086956522	-97.9923172
1304347.826	1.304347826	-95.95785522
1521739.13	1.52173913	-71.79412079
1739130.435	1.739130435	-97.11074829
1956521.739	1.956521739	-95.97800446
2173913.043	2.173913043	-96.81368256
2391304.348	2.391304348	-96.86431122
2608695.652	2.608695652	-97.04830933
2826086.957	2.826086957	-98.05465698
3043478.261	3.043478261	-97.28882599
3260869.565	3.260869565	-96.32720947
3478260.87	3.47826087	-94.5124054
3695652.174	3.695652174	-96.26218414
3913043.478	3.913043478	-94.82979584
4130434.783	4.130434783	-97.5760498
4347826.087	4.347826087	-91.01906586
4565217.391	4.565217391	-95.83571625
4782608.696	4.782608696	-94.88892365
5000000	5	-95.91654205
5217391.304	5.217391304	-87.50869751
5434782.609	5.434782609	-93.99822235
5652173.913	5.652173913	-95.05867767
5869565.217	5.869565217	-89.15969086
6086956.522	6.086956522	-95.94361115
6304347.826	6.304347826	-95.35147858
6521739.13	6.52173913	-95.72979736
6739130.435	6.739130435	-95.19229126
6956521.739	6.956521739	-94.71575928
7173913.043	7.173913043	-95.71866608
7391304.348	7.391304348	-94.37441254
7608695.652	7.608695652	-94.60588837
7826086.957	7.826086957	-93.71494293
8043478.261	8.043478261	-93.99269104
8260869.565	8.260869565	-86.30161285
8478260.87	8.47826087	-94.84381104
8695652.174	8.695652174	-94.59796143
8913043.478	8.913043478	-93.0552597
9130434.783	9.130434783	-93.95487976
9347826.087	9.347826087	-93.28572845
9565217.391	9.565217391	-94.8536911
9782608.696	9.782608696	-90.09545135
10000000	10	-89.95294189
10217391.3	10.2173913	-93.67268372
10434782.61	10.43478261	-82.05245209
10652173.91	10.65217391	-87.38283539
10869565.22	10.86956522	-82.14315033
11086956.52	11.08695652	-81.47119141
11304347.83	11.30434783	-83.38462067
11521739.13	11.52173913	-87.59196472
11739130.43	11.73913043	-94.10332489
11956521.74	11.95652174	-94.38790131
12173913.04	12.17391304	-93.45040131
12391304.35	12.39130435	-94.27173615
12608695.65	12.60869565	-92.39792633
12826086.96	12.82608696	-91.00740814
13043478.26	13.04347826	-90.20307922
13260869.57	13.26086957	-93.12545013
13478260.87	13.47826087	-93.61146545
13695652.17	13.69565217	-95.49898529
13913043.48	13.91304348	-94.67513275
14130434.78	14.13043478	-94.09124756
14347826.09	14.34782609	-94.2490921
14565217.39	14.56521739	-93.49429321
14782608.7	14.7826087	-94.19545746
15000000	15	-90.78211212
15217391.3	15.2173913	-95.2995224
15434782.61	15.43478261	-94.37268066
15652173.91	15.65217391	-95.08291626
15869565.22	15.86956522	-88.81776428
16086956.52	16.08695652	-93.19755554
16304347.83	16.30434783	-95.3808136
16521739.13	16.52173913	-94.06845093
16739130.43	16.73913043	-94.85229492
16956521.74	16.95652174	-92.12770081
17173913.04	17.17391304	-92.52792358
17391304.35	17.39130435	-93.05602264
17608695.65	17.60869565	-93.95643616
17826086.96	17.82608696	-92.69833374
18043478.26	18.04347826	-94.35645294
18260869.57	18.26086957	-93.61487579
18478260.87	18.47826087	-92.26618195
18695652.17	18.69565217	-95.0699234
18913043.48	18.91304348	-93.18491364
19130434.78	19.13043478	-94.6870575
19347826.09	19.34782609	-93.19267273
19565217.39	19.56521739	-93.86693573
19782608.7	19.7826087	-93.40346527
20000000	20	-93.74965668
20217391.3	20.2173913	-93.45513153
20434782.61	20.43478261	-94.09299469
20652173.91	20.65217391	-91.38127136
20869565.22	20.86956522	-91.54101563
21086956.52	21.08695652	-90.83725739
21304347.83	21.30434783	-89.68468475
21521739.13	21.52173913	-88.65333557
21739130.43	21.73913043	-88.49009705
21956521.74	21.95652174	-90.52347565
22173913.04	22.17391304	-89.98383331
22391304.35	22.39130435	-90.87407684
22608695.65	22.60869565	-91.9960556
22826086.96	22.82608696	-92.99723816
23043478.26	23.04347826	-88.32858276
23260869.57	23.26086957	-93.09169769
23478260.87	23.47826087	-92.52314758
23695652.17	23.69565217	-93.85131836
23913043.48	23.91304348	-92.67620087
24130434.78	24.13043478	-93.05443573
24347826.09	24.34782609	-92.5111618
24565217.39	24.56521739	-94.55284882
24782608.7	24.7826087	-93.09964752
25000000	25	-93.61112976
25217391.3	25.2173913	-92.09770203
25434782.61	25.43478261	-94.57054901
25652173.91	25.65217391	-92.91892242
25869565.22	25.86956522	-93.30625153
26086956.52	26.08695652	-93.00852203
26304347.83	26.30434783	-92.65493011
26521739.13	26.52173913	-91.55898285
26739130.43	26.73913043	-93.2559433
26956521.74	26.95652174	-92.7491684
27173913.04	27.17391304	-89.55735016
27391304.35	27.39130435	-89.29692078
27608695.65	27.60869565	-93.53157806
27826086.96	27.82608696	-95.08892059
28043478.26	28.04347826	-92.42508698
28260869.57	28.26086957	-89.0894165
28478260.87	28.47826087	-88.28336334
28695652.17	28.69565217	-84.7520752
28913043.48	28.91304348	-92.32183075
29130434.78	29.13043478	-83.56997681
29347826.09	29.34782609	-89.16958618
29565217.39	29.56521739	-88.48428345
29782608.7	29.7826087	-90.15366364
30000000	30	-89.38851166
30217391.3	30.2173913	-95.58555603
30434782.61	30.43478261	-94.95948792
30652173.91	30.65217391	-93.32692719
30869565.22	30.86956522	-95.14678192
31086956.52	31.08695652	-93.28712463
31304347.83	31.30434783	-91.91804504
31521739.13	31.52173913	-90.0557785
31739130.43	31.73913043	-94.85525513
31956521.74	31.95652174	-89.22934723
32173913.04	32.17391304	-94.00666046
32391304.35	32.39130435	-93.12731934
32608695.65	32.60869565	-87.1026535
32826086.96	32.82608696	-88.42290497
33043478.26	33.04347826	-88.93947601
33260869.57	33.26086957	-90.34416199
33478260.87	33.47826087	-84.73158264
33695652.17	33.69565217	-92.27598572
33913043.48	33.91304348	-90.77883148
34130434.78	34.13043478	-84.025383
34347826.09	34.34782609	-88.62281799
34565217.39	34.56521739	-82.39258575
34782608.7	34.7826087	-87.33350372
35000000	35	-86.32752991
35217391.3	35.2173913	-89.50859833
35434782.61	35.43478261	-84.53591919
35652173.91	35.65217391	-91.21697235
35869565.22	35.86956522	-91.51511383
36086956.52	36.08695652	-89.4776535
36304347.83	36.30434783	-94.23898315
36521739.13	36.52173913	-92.15555573
36739130.43	36.73913043	-92.99217224
36956521.74	36.95652174	-93.06841278
37173913.04	37.17391304	-93.45262909
37391304.35	37.39130435	-93.35303497
37608695.65	37.60869565	-90.68173981
37826086.96	37.82608696	-93.85617828
38043478.26	38.04347826	-94.43904114
38260869.57	38.26086957	-90.530159
38478260.87	38.47826087	-94.21009064
38695652.17	38.69565217	-95.13935852
38913043.48	38.91304348	-89.65003204
39130434.78	39.13043478	-93.21250916
39347826.09	39.34782609	-95.0249939
39565217.39	39.56521739	-91.45495605
39782608.7	39.7826087	-89.84415436
40000000	40	-91.62124634
40217391.3	40.2173913	-91.84776306
40434782.61	40.43478261	-89.35876465
40652173.91	40.65217391	-93.00289154
40869565.22	40.86956522	-94.39971161
41086956.52	41.08695652	-95.42666626
41304347.83	41.30434783	-94.30116272
41521739.13	41.52173913	-93.3152771
41739130.43	41.73913043	-95.62358856
41956521.74	41.95652174	-95.39034271
42173913.04	42.17391304	-93.61904144
42391304.35	42.39130435	-95.17034149
42608695.65	42.60869565	-94.6495285
42826086.96	42.82608696	-94.13187408
43043478.26	43.04347826	-93.08802032
43260869.57	43.26086957	-95.78554535
43478260.87	43.47826087	-90.50920868
43695652.17	43.69565217	-90.62676239
43913043.48	43.91304348	-91.41788483
44130434.78	44.13043478	-96.42682648
44347826.09	44.34782609	-97.77541351
44565217.39	44.56521739	-95.4597168
44782608.7	44.7826087	-94.77906036
45000000	45	-93.32727814
45217391.3	45.2173913	-93.72510529
45434782.61	45.43478261	-94.6190567
45652173.91	45.65217391	-88.04397583
45869565.22	45.86956522	-87.79156494
46086956.52	46.08695652	-93.36407471
46304347.83	46.30434783	-94.54268646
46521739.13	46.52173913	-95.19308472
46739130.43	46.73913043	-95.91030884
46956521.74	46.95652174	-95.51416779
47173913.04	47.17391304	-96.09780121
47391304.35	47.39130435	-95.67907715
47608695.65	47.60869565	-93.50726318
47826086.96	47.82608696	-91.37747955
48043478.26	48.04347826	-96.98635101
48260869.57	48.26086957	-96.80064392
48478260.87	48.47826087	-96.33081055
48695652.17	48.69565217	-96.41785431
48913043.48	48.91304348	-96.78324127
49130434.78	49.13043478	-96.8052597
49347826.09	49.34782609	-96.1979599
49565217.39	49.56521739	-98.05658722
49782608.7	49.7826087	-96.59294128
50000000	50	-92.81307983
50217391.3	50.2173913	-96.04931641
50434782.61	50.43478261	-95.59272003
50652173.91	50.65217391	-97.05445099
50869565.22	50.86956522	-96.68907928
51086956.52	51.08695652	-98.73722076
51304347.83	51.30434783	-94.84809113
51521739.13	51.52173913	-97.79259491
51739130.43	51.73913043	-93.63314056
51956521.74	51.95652174	-97.48905182
52173913.04	52.17391304	-98.96800995
52391304.35	52.39130435	-97.42645264
52608695.65	52.60869565	-98.12715912
52826086.96	52.82608696	-100.2315216
53043478.26	53.04347826	-99.79224396
53260869.57	53.26086957	-98.78741455
53478260.87	53.47826087	-99.3391571
53695652.17	53.69565217	-98.98053741
53913043.48	53.91304348	-99.69351959
54130434.78	54.13043478	-98.95795441
54347826.09	54.34782609	-98.49525452
54565217.39	54.56521739	-100.7545013
54782608.7	54.7826087	-98.18077087
55000000	55	-100.3906174
55217391.3	55.2173913	-99.90385437
55434782.61	55.43478261	-99.75753021
55652173.91	55.65217391	-101.4943008
55869565.22	55.86956522	-101.2814865
56086956.52	56.08695652	-102.4846268
56304347.83	56.30434783	-99.18972015
56521739.13	56.52173913	-102.7865067
56739130.43	56.73913043	-101.4101486
56956521.74	56.95652174	-101.4476318
57173913.04	57.17391304	-100.2663651
57391304.35	57.39130435	-99.50002289
57608695.65	57.60869565	-102.3043137
57826086.96	57.82608696	-102.4797745
58043478.26	58.04347826	-100.9690857
58260869.57	58.26086957	-100.4566116
58478260.87	58.47826087	-102.0342026
58695652.17	58.69565217	-102.0750885
58913043.48	58.91304348	-100.556488
59130434.78	59.13043478	-103.3810806
59347826.09	59.34782609	-99.54850769
59565217.39	59.56521739	-100.9769821
59782608.7	59.7826087	-102.5965271
60000000	60	-101.7704315
60217391.3	60.2173913	-95.62438202
60434782.61	60.43478261	-101.4888687
60652173.91	60.65217391	-100.2497406
60869565.22	60.86956522	-102.4900818
61086956.52	61.08695652	-103.122467
61304347.83	61.30434783	-101.2621689
61521739.13	61.52173913	-103.1261826
61739130.43	61.73913043	-103.3374481
61956521.74	61.95652174	-102.4578857
62173913.04	62.17391304	-103.8254395
62391304.35	62.39130435	-103.7862854
62608695.65	62.60869565	-101.7635498
62826086.96	62.82608696	-100.3635559
63043478.26	63.04347826	-102.6675415
63260869.57	63.26086957	-102.8268356
63478260.87	63.47826087	-102.9501419
63695652.17	63.69565217	-103.9468307
63913043.48	63.91304348	-105.0773392
64130434.78	64.13043478	-104.3851547
64347826.09	64.34782609	-103.2902908
64565217.39	64.56521739	-104.7674942
64782608.7	64.7826087	-104.4142532
65000000	65	-105.8256683
65217391.3	65.2173913	-105.1859512
65434782.61	65.43478261	-105.2922211
65652173.91	65.65217391	-105.6948471
65869565.22	65.86956522	-104.6789474
66086956.52	66.08695652	-104.610672
66304347.83	66.30434783	-105.7681274
66521739.13	66.52173913	-104.9784775
66739130.43	66.73913043	-106.3584824
66956521.74	66.95652174	-106.6799927
67173913.04	67.17391304	-105.8099213
67391304.35	67.39130435	-106.3161621
67608695.65	67.60869565	-105.8182678
67826086.96	67.82608696	-105.8850174
68043478.26	68.04347826	-107.3367844
68260869.57	68.26086957	-105.7694931
68478260.87	68.47826087	-105.1250687
68695652.17	68.69565217	-102.1343307
68913043.48	68.91304348	-105.2725449
69130434.78	69.13043478	-106.4261246
69347826.09	69.34782609	-106.7381668
69565217.39	69.56521739	-106.5371323
69782608.7	69.7826087	-107.6519394
70000000	70	-106.2830124
70217391.3	70.2173913	-105.9578247
70434782.61	70.43478261	-103.768692
70652173.91	70.65217391	-107.4392319
70869565.22	70.86956522	-105.0883865
71086956.52	71.08695652	-105.8661118
71304347.83	71.30434783	-105.7525635
71521739.13	71.52173913	-107.4509277
71739130.43	71.73913043	-106.6476593
71956521.74	71.95652174	-104.8810501
72173913.04	72.17391304	-106.9157257
72391304.35	72.39130435	-106.4674759
72608695.65	72.60869565	-108.2301712
72826086.96	72.82608696	-108.0073624
73043478.26	73.04347826	-107.9075089
73260869.57	73.26086957	-106.6224899
73478260.87	73.47826087	-106.2929306
73695652.17	73.69565217	-106.9605789
73913043.48	73.91304348	-107.7156525
74130434.78	74.13043478	-106.5322266
74347826.09	74.34782609	-107.618927
74565217.39	74.56521739	-107.9107437
74782608.7	74.7826087	-106.8435822
75000000	75	-107.33078
75217391.3	75.2173913	-107.2783432
75434782.61	75.43478261	-108.0350266
75652173.91	75.65217391	-107.9095535
75869565.22	75.86956522	-108.2454147
76086956.52	76.08695652	-106.1548691
76304347.83	76.30434783	-106.0728607
76521739.13	76.52173913	-107.8761902
76739130.43	76.73913043	-105.8556519
76956521.74	76.95652174	-107.4790115
77173913.04	77.17391304	-104.8057022
77391304.35	77.39130435	-106.5698013
77608695.65	77.60869565	-108.6070099
77826086.96	77.82608696	-107.3277969
78043478.26	78.04347826	-107.4771576
78260869.57	78.26086957	-106.4663849
78478260.87	78.47826087	-108.118927
78695652.17	78.69565217	-105.0128403
78913043.48	78.91304348	-107.4168625
79130434.78	79.13043478	-106.501503
79347826.09	79.34782609	-106.1693726
79565217.39	79.56521739	-107.2203979
79782608.7	79.7826087	-106.2168884
80000000	80	-106.8736038
80217391.3	80.2173913	-106.1365356
80434782.61	80.43478261	-106.1543121
80652173.91	80.65217391	-106.6208572
80869565.22	80.86956522	-105.8970718
81086956.52	81.08695652	-106.6005478
81304347.83	81.30434783	-103.5339279
81521739.13	81.52173913	-105.4012375
81739130.43	81.73913043	-106.2606125
81956521.74	81.95652174	-104.7366257
82173913.04	82.17391304	-106.5912704
82391304.35	82.39130435	-104.3341141
82608695.65	82.60869565	-105.6550369
82826086.96	82.82608696	-104.3372498
83043478.26	83.04347826	-105.6592255
83260869.57	83.26086957	-104.9933167
83478260.87	83.47826087	-104.9609375
83695652.17	83.69565217	-105.3929291
83913043.48	83.91304348	-105.6544647
84130434.78	84.13043478	-103.192627
84347826.09	84.34782609	-104.7153625
84565217.39	84.56521739	-105.2706604
84782608.7	84.7826087	-103.6038589
85000000	85	-104.5547562
85217391.3	85.2173913	-104.6643372
85434782.61	85.43478261	-104.9936447
85652173.91	85.65217391	-104.6821213
85869565.22	85.86956522	-104.9532852
86086956.52	86.08695652	-104.783638
86304347.83	86.30434783	-105.0726242
86521739.13	86.52173913	-105.7173996
86739130.43	86.73913043	-105.0797958
86956521.74	86.95652174	-106.2480392
87173913.04	87.17391304	-104.00737
87391304.35	87.39130435	-106.1987076
87608695.65	87.60869565	-105.901413
87826086.96	87.82608696	-107.6663132
88043478.26	88.04347826	-107.8980255
88260869.57	88.26086957	-107.1478577
88478260.87	88.47826087	-108.4174576
88695652.17	88.69565217	-108.313179
88913043.48	88.91304348	-106.5733032
89130434.78	89.13043478	-95.25305176
89347826.09	89.34782609	-107.8011627
89565217.39	89.56521739	-108.2317657
89782608.7	89.7826087	-89.36365509
90000000	90	-97.3272934
90217391.3	90.2173913	-108.1470261
90434782.61	90.43478261	-108.1883163
90652173.91	90.65217391	-97.14398956
90869565.22	90.86956522	-106.8583908
91086956.52	91.08695652	-106.0251541
91304347.83	91.30434783	-106.8928375
91521739.13	91.52173913	-107.8130493
91739130.43	91.73913043	-109.2098389
91956521.74	91.95652174	-107.3290558
92173913.04	92.17391304	-108.977066
92391304.35	92.39130435	-105.4549103
92608695.65	92.60869565	-107.5897751
92826086.96	92.82608696	-108.8749847
93043478.26	93.04347826	-110.0216064
93260869.57	93.26086957	-108.3954239
93478260.87	93.47826087	-107.938179
93695652.17	93.69565217	-107.0731354
93913043.48	93.91304348	-107.880127
94130434.78	94.13043478	-108.072197
94347826.09	94.34782609	-108.0322876
94565217.39	94.56521739	-108.6897736
94782608.7	94.7826087	-107.8438416
95000000	95	-106.1000671
95217391.3	95.2173913	-109.1008453
95434782.61	95.43478261	-109.1069031
95652173.91	95.65217391	-109.4616241
95869565.22	95.86956522	-108.8917007
96086956.52	96.08695652	-107.431839
96304347.83	96.30434783	-109.2042236
96521739.13	96.52173913	-107.7654572
96739130.43	96.73913043	-108.3502274
96956521.74	96.95652174	-107.8866577
97173913.04	97.17391304	-108.9592667
97391304.35	97.39130435	-108.8334045
97608695.65	97.60869565	-108.4830093
97826086.96	97.82608696	-108.3829269
98043478.26	98.04347826	-109.0582657
98260869.57	98.26086957	-107.9573898
98478260.87	98.47826087	-109.2187119
98695652.17	98.69565217	-109.4725418
98913043.48	98.91304348	-108.8596115
99130434.78	99.13043478	-98.83010864
99347826.09	99.34782609	-108.7980423
99565217.39	99.56521739	-109.3657684
99782608.7	99.7826087	-110.1364136
100000000	100	-108.2461929