## N1E_2
Machine Module	N9343C	CN0605A298
MCU Version	A.06.27
DSP Version	A.05.02.02 SA
FPGA Version	A.02.80
03:41:17 07.09.2020
Y Axis Scale	LOG
Y Axis Unit	dBm
Impedance	50
Number of Points	461
Sweep Time(s)	0.971373	AUTO
Start Frequency	0
Stop Frequency	100000000
Frequency Offset	0
Average Type	Log Pwr
RBW	1000	MAN
VBW	1000	AUTO
Sweep Type	Continuous
Sweep Mode	Sweep
Speed	Fast
PreAmp State	OFF
Ref Level	-70
Attenuation	0	MAN
Ref Level Offset	0
X Axis Units	Hz
HiSensitive	OFF
Trigger Source	FreeRun
Trigger Level	0
Trigger Slope	RISE
Trigger Delay	0	OFF
Gate Sweep	OFF
Gate View	OFF
Gate Delay	0.00228
Gate Length	0.00084
Gate Source	External
Burst Level	-20
Burst Trigger Slope	Rise
Timer Period	0.00312
Timer Offset	0
Sync Source	Off
Apply Corrections	OFF
Antenna Unit	OFF
Correction1	Off
Correction2	Off
Correction3	Off
Correction4	Off
Marker Information
CISPR Filter	Normal RBW	Dwell Time(s)	0.5	AUTO
Trace Math	Off
Trace Math By	Log Power
Trace Variable A	Trace1
Trace Variable B	Trace2
Trace Variable C	Trace3
Trace Name	Trace1
Trace Count	1
Trace Type	Clear Write
Trace Detector	Pos Peak
Trace Data
0	-26.19523239
217391.3043	-82.44229126
434782.6087	-85.25927734
652173.913	-91.85670471
869565.2174	-91.62445068
1086956.522	-96.61427307
1304347.826	-94.99459076
1521739.13	-74.17062378
1739130.435	-96.31885529
1956521.739	-97.4828186
2173913.043	-97.07897186
2391304.348	-97.4731369
2608695.652	-97.01282501
2826086.957	-82.89287567
3043478.261	-96.83107758
3260869.565	-94.6230011
3478260.87	-92.35532379
3695652.174	-93.7436142
3913043.478	-96.41126251
4130434.783	-97.08391571
4347826.087	-95.58061981
4565217.391	-95.93756866
4782608.696	-96.75089264
5000000	-93.89846039
5217391.304	-96.26405334
5434782.609	-95.36405182
5652173.913	-94.49169922
5869565.217	-93.97585297
6086956.522	-92.89365387
6304347.826	-95.78913116
6521739.13	-95.689888
6739130.435	-83.0459137
6956521.739	-90.54922485
7173913.043	-94.00115967
7391304.348	-81.97180176
7608695.652	-92.53125763
7826086.957	-94.82778168
8043478.261	-94.16532135
8260869.565	-94.66521454
8478260.87	-93.79616547
8695652.174	-81.1048584
8913043.478	-82.45825958
9130434.783	-84.45319366
9347826.087	-84.52540588
9565217.391	-81.84192657
9782608.696	-93.98142242
10000000	-88.16932678
10217391.3	-89.47892761
10434782.61	-94.63625336
10652173.91	-93.85561371
10869565.22	-95.18689728
11086956.52	-94.73174286
11304347.83	-94.15048981
11521739.13	-91.99221039
11739130.43	-85.74803162
11956521.74	-82.12465668
12173913.04	-92.516922
12391304.35	-95.31291199
12608695.65	-92.58530426
12826086.96	-94.84490967
13043478.26	-93.88002014
13260869.57	-92.95233917
13478260.87	-93.39576721
13695652.17	-87.45350647
13913043.48	-92.13153839
14130434.78	-87.81825256
14347826.09	-89.99994659
14565217.39	-91.70160675
14782608.7	-92.36516571
15000000	-93.91009521
15217391.3	-92.93301392
15434782.61	-94.58367157
15652173.91	-90.8764267
15869565.22	-91.20497894
16086956.52	-92.99111176
16304347.83	-91.80919647
16521739.13	-94.67134857
16739130.43	-93.4825058
16956521.74	-93.6272049
17173913.04	-93.47023773
17391304.35	-93.63021088
17608695.65	-89.81388855
17826086.96	-94.05544281
18043478.26	-92.94356537
18260869.57	-90.81633759
18478260.87	-84.0772934
18695652.17	-94.14092255
18913043.48	-95.64928436
19130434.78	-94.26039886
19347826.09	-93.08444214
19565217.39	-92.52241516
19782608.7	-92.63592529
20000000	-93.83594513
20217391.3	-91.43971252
20434782.61	-93.17563629
20652173.91	-93.42689514
20869565.22	-90.75081635
21086956.52	-89.48290253
21304347.83	-89.50966644
21521739.13	-89.74124908
21739130.43	-90.08419037
21956521.74	-92.33802032
22173913.04	-92.58350372
22391304.35	-90.73930359
22608695.65	-89.47732544
22826086.96	-89.36640167
23043478.26	-83.69707489
23260869.57	-93.25983429
23478260.87	-92.33021545
23695652.17	-91.90381622
23913043.48	-93.05551147
24130434.78	-92.67821503
24347826.09	-92.67647552
24565217.39	-95.0553894
24782608.7	-93.64592743
25000000	-93.93907928
25217391.3	-95.49686432
25434782.61	-95.44494629
25652173.91	-94.103508
25869565.22	-91.73220062
26086956.52	-94.65390015
26304347.83	-93.79624176
26521739.13	-86.35955048
26739130.43	-92.26110077
26956521.74	-92.78269196
27173913.04	-89.36064148
27391304.35	-89.52413177
27608695.65	-92.40979767
27826086.96	-93.64981842
28043478.26	-88.92288971
28260869.57	-89.30769348
28478260.87	-86.0104599
28695652.17	-82.95587921
28913043.48	-86.80947876
29130434.78	-80.59037018
29347826.09	-88.88776398
29565217.39	-88.33927155
29782608.7	-89.78632355
30000000	-87.44586182
30217391.3	-93.75182343
30434782.61	-92.57237244
30652173.91	-88.47147369
30869565.22	-92.53093719
31086956.52	-93.15171051
31304347.83	-91.01730347
31521739.13	-92.61592102
31739130.43	-93.37340546
31956521.74	-94.74515533
32173913.04	-93.47428131
32391304.35	-91.51098633
32608695.65	-86.30821991
32826086.96	-87.63974762
33043478.26	-91.09499359
33260869.57	-90.45240021
33478260.87	-84.45513153
33695652.17	-89.60279083
33913043.48	-89.66897583
34130434.78	-84.83682251
34347826.09	-89.81780243
34565217.39	-82.633255
34782608.7	-86.42469025
35000000	-87.3009491
35217391.3	-87.6402359
35434782.61	-86.25187683
35652173.91	-92.84531403
35869565.22	-93.60058594
36086956.52	-87.36289978
36304347.83	-92.89421844
36521739.13	-93.99269867
36739130.43	-93.9717865
36956521.74	-92.60269928
37173913.04	-90.01464844
37391304.35	-91.19661713
37608695.65	-89.36558533
37826086.96	-90.80648804
38043478.26	-92.12306976
38260869.57	-92.02103424
38478260.87	-95.24622345
38695652.17	-93.19229889
38913043.48	-92.62276459
39130434.78	-96.12937927
39347826.09	-92.8364563
39565217.39	-89.4862442
39782608.7	-89.00650787
40000000	-90.55280304
40217391.3	-93.66436005
40434782.61	-88.24536896
40652173.91	-93.56628418
40869565.22	-94.34188843
41086956.52	-95.94876099
41304347.83	-94.72750854
41521739.13	-94.25900269
41739130.43	-93.5605011
41956521.74	-93.45848846
42173913.04	-94.17204285
42391304.35	-93.87835693
42608695.65	-96.14125061
42826086.96	-94.72348785
43043478.26	-94.49169159
43260869.57	-93.53150177
43478260.87	-93.45131683
43695652.17	-95.67593384
43913043.48	-91.24710083
44130434.78	-95.48088074
44347826.09	-93.98220062
44565217.39	-96.36615753
44782608.7	-91.86235046
45000000	-94.3582077
45217391.3	-92.51708221
45434782.61	-96.81404877
45652173.91	-89.97555542
45869565.22	-90.07442474
46086956.52	-92.79589081
46304347.83	-92.72923279
46521739.13	-93.85923004
46739130.43	-96.25007629
46956521.74	-94.75952911
47173913.04	-93.76398468
47391304.35	-97.66438293
47608695.65	-97.12033081
47826086.96	-92.23162079
48043478.26	-96.2625885
48260869.57	-96.15000916
48478260.87	-95.95704651
48695652.17	-96.56834412
48913043.48	-96.67287445
49130434.78	-96.73136139
49347826.09	-94.86183167
49565217.39	-96.17074585
49782608.7	-96.63258362
50000000	-96.59747314
50217391.3	-96.62018585
50434782.61	-97.19626617
50652173.91	-97.73069
50869565.22	-97.31548309
51086956.52	-95.82445526
51304347.83	-91.69228363
51521739.13	-96.84469604
51739130.43	-94.86727905
51956521.74	-95.48672485
52173913.04	-96.34902954
52391304.35	-98.24152374
52608695.65	-96.96437836
52826086.96	-98.19565582
53043478.26	-97.61818695
53260869.57	-98.97154999
53478260.87	-97.93600464
53695652.17	-100.1064911
53913043.48	-99.60922241
54130434.78	-100.5866852
54347826.09	-100.5585251
54565217.39	-98.66828918
54782608.7	-99.16979218
55000000	-100.1556549
55217391.3	-92.23919678
55434782.61	-101.227562
55652173.91	-99.16470337
55869565.22	-99.42282867
56086956.52	-101.0033035
56304347.83	-100.8502731
56521739.13	-100.5298386
56739130.43	-101.3199844
56956521.74	-99.69854736
57173913.04	-101.8600693
57391304.35	-102.3458252
57608695.65	-101.2432404
57826086.96	-100.0340576
58043478.26	-103.6837616
58260869.57	-101.2819138
58478260.87	-101.4632263
58695652.17	-103.2868271
58913043.48	-103.1494827
59130434.78	-102.3676376
59347826.09	-89.01480865
59565217.39	-102.3794327
59782608.7	-104.3177872
60000000	-102.7232132
60217391.3	-97.46031952
60434782.61	-101.2992935
60652173.91	-103.8632278
60869565.22	-103.2005234
61086956.52	-102.5198746
61304347.83	-100.8345032
61521739.13	-102.1744003
61739130.43	-102.3522873
61956521.74	-103.3806229
62173913.04	-103.178978
62391304.35	-103.5252228
62608695.65	-102.9189224
62826086.96	-102.0510406
63043478.26	-104.2627869
63260869.57	-102.4483871
63478260.87	-99.24697876
63695652.17	-102.724556
63913043.48	-105.6283112
64130434.78	-104.8637619
64347826.09	-105.0206299
64565217.39	-105.2402496
64782608.7	-104.4341583
65000000	-103.1878052
65217391.3	-104.7077713
65434782.61	-103.5709229
65652173.91	-106.3304749
65869565.22	-104.7253952
66086956.52	-105.4764481
66304347.83	-106.3888626
66521739.13	-103.937851
66739130.43	-104.7407532
66956521.74	-104.7244034
67173913.04	-106.0533752
67391304.35	-104.6928482
67608695.65	-105.9761353
67826086.96	-106.2690811
68043478.26	-106.4544296
68260869.57	-106.9675751
68478260.87	-105.2533493
68695652.17	-105.7623367
68913043.48	-106.8372116
69130434.78	-106.8824234
69347826.09	-106.1300125
69565217.39	-107.7534256
69782608.7	-106.0219574
70000000	-107.4252167
70217391.3	-105.1572266
70434782.61	-101.6969223
70652173.91	-106.458931
70869565.22	-105.7899551
71086956.52	-106.7120743
71304347.83	-105.9339676
71521739.13	-107.2752914
71739130.43	-106.2193756
71956521.74	-105.7677231
72173913.04	-107.3027496
72391304.35	-107.2895355
72608695.65	-107.2261047
72826086.96	-107.4819412
73043478.26	-106.2489166
73260869.57	-106.5610123
73478260.87	-108.5729446
73695652.17	-106.8488998
73913043.48	-106.7597733
74130434.78	-107.3161469
74347826.09	-108.5574875
74565217.39	-107.3490219
74782608.7	-109.0429916
75000000	-107.9214401
75217391.3	-106.4400787
75434782.61	-107.911438
75652173.91	-108.9675751
75869565.22	-106.4085312
76086956.52	-108.0702209
76304347.83	-108.1541901
76521739.13	-105.4193497
76739130.43	-106.2628098
76956521.74	-106.2076721
77173913.04	-103.9110718
77391304.35	-105.9165955
77608695.65	-107.2326508
77826086.96	-107.3208237
78043478.26	-107.7041779
78260869.57	-108.4966736
78478260.87	-107.6844254
78695652.17	-106.4208374
78913043.48	-107.1063919
79130434.78	-105.7525864
79347826.09	-107.3671036
79565217.39	-106.9720688
79782608.7	-105.5645065
80000000	-104.9665909
80217391.3	-106.0600815
80434782.61	-104.7494659
80652173.91	-105.8017883
80869565.22	-103.7416
81086956.52	-101.352272
81304347.83	-106.29496
81521739.13	-104.2953262
81739130.43	-104.4805527
81956521.74	-102.2042389
82173913.04	-101.7882767
82391304.35	-104.419136
82608695.65	-105.1057434
82826086.96	-105.0372314
83043478.26	-104.0598221
83260869.57	-103.4448547
83478260.87	-102.9643402
83695652.17	-104.1049881
83913043.48	-104.9544678
84130434.78	-104.8963776
84347826.09	-104.2662125
84565217.39	-104.5562744
84782608.7	-104.7158508
85000000	-104.6143265
85217391.3	-105.7715073
85434782.61	-106.2818756
85652173.91	-104.5451355
85869565.22	-103.9383392
86086956.52	-105.6115112
86304347.83	-105.6266861
86521739.13	-105.6949539
86739130.43	-105.2171478
86956521.74	-105.1395111
87173913.04	-105.0814285
87391304.35	-106.2036591
87608695.65	-106.2172546
87826086.96	-106.0627213
88043478.26	-105.8372498
88260869.57	-107.7890778
88478260.87	-106.053688
88695652.17	-106.2603378
88913043.48	-107.1232529
89130434.78	-96.44582367
89347826.09	-107.1191025
89565217.39	-107.0933914
89782608.7	-107.4649734
90000000	-107.8610306
90217391.3	-106.3734741
90434782.61	-107.8239288
90652173.91	-92.35445404
90869565.22	-108.6070023
91086956.52	-109.0179214
91304347.83	-108.2314987
91521739.13	-107.2592392
91739130.43	-108.1179123
91956521.74	-109.5798569
92173913.04	-106.7232971
92391304.35	-108.0445633
92608695.65	-108.8781433
92826086.96	-108.3630447
93043478.26	-107.3750687
93260869.57	-108.4855194
93478260.87	-108.6843796
93695652.17	-107.5296555
93913043.48	-107.2644424
94130434.78	-108.2233047
94347826.09	-108.6641617
94565217.39	-107.6362686
94782608.7	-107.1499329
95000000	-101.6141663
95217391.3	-109.3968887
95434782.61	-107.4972534
95652173.91	-109.0606461
95869565.22	-108.9828262
96086956.52	-108.1172638
96304347.83	-109.4703369
96521739.13	-108.2698517
96739130.43	-107.1626205
96956521.74	-108.5176773
97173913.04	-108.3800278
97391304.35	-109.2641068
97608695.65	-108.3362045
97826086.96	-107.7466431
98043478.26	-109.5739441
98260869.57	-108.23806
98478260.87	-108.9859009
98695652.17	-108.7840805
98913043.48	-108.7292252
99130434.78	-96.5983963
99347826.09	-108.1557999
99565217.39	-109.0747147
99782608.7	-109.3445816
100000000	-101.3834457

## N1E_2_2
Frequency [Hz]	Frequency [MHz]	Power [dBm]
0	0	-26.19523239
217391.3043	0.2173913043	-82.44229126
434782.6087	0.4347826087	-85.25927734
652173.913	0.652173913	-91.85670471
869565.2174	0.8695652174	-91.62445068
1086956.522	1.086956522	-96.61427307
1304347.826	1.304347826	-94.99459076
1521739.13	1.52173913	-74.17062378
1739130.435	1.739130435	-96.31885529
1956521.739	1.956521739	-97.4828186
2173913.043	2.173913043	-97.07897186
2391304.348	2.391304348	-97.4731369
2608695.652	2.608695652	-97.01282501
2826086.957	2.826086957	-82.89287567
3043478.261	3.043478261	-96.83107758
3260869.565	3.260869565	-94.6230011
3478260.87	3.47826087	-92.35532379
3695652.174	3.695652174	-93.7436142
3913043.478	3.913043478	-96.41126251
4130434.783	4.130434783	-97.08391571
4347826.087	4.347826087	-95.58061981
4565217.391	4.565217391	-95.93756866
4782608.696	4.782608696	-96.75089264
5000000	5	-93.89846039
5217391.304	5.217391304	-96.26405334
5434782.609	5.434782609	-95.36405182
5652173.913	5.652173913	-94.49169922
5869565.217	5.869565217	-93.97585297
6086956.522	6.086956522	-92.89365387
6304347.826	6.304347826	-95.78913116
6521739.13	6.52173913	-95.689888
6739130.435	6.739130435	-83.0459137
6956521.739	6.956521739	-90.54922485
7173913.043	7.173913043	-94.00115967
7391304.348	7.391304348	-81.97180176
7608695.652	7.608695652	-92.53125763
7826086.957	7.826086957	-94.82778168
8043478.261	8.043478261	-94.16532135
8260869.565	8.260869565	-94.66521454
8478260.87	8.47826087	-93.79616547
8695652.174	8.695652174	-81.1048584
8913043.478	8.913043478	-82.45825958
9130434.783	9.130434783	-84.45319366
9347826.087	9.347826087	-84.52540588
9565217.391	9.565217391	-81.84192657
9782608.696	9.782608696	-93.98142242
10000000	10	-88.16932678
10217391.3	10.2173913	-89.47892761
10434782.61	10.43478261	-94.63625336
10652173.91	10.65217391	-93.85561371
10869565.22	10.86956522	-95.18689728
11086956.52	11.08695652	-94.73174286
11304347.83	11.30434783	-94.15048981
11521739.13	11.52173913	-91.99221039
11739130.43	11.73913043	-85.74803162
11956521.74	11.95652174	-82.12465668
12173913.04	12.17391304	-92.516922
12391304.35	12.39130435	-95.31291199
12608695.65	12.60869565	-92.58530426
12826086.96	12.82608696	-94.84490967
13043478.26	13.04347826	-93.88002014
13260869.57	13.26086957	-92.95233917
13478260.87	13.47826087	-93.39576721
13695652.17	13.69565217	-87.45350647
13913043.48	13.91304348	-92.13153839
14130434.78	14.13043478	-87.81825256
14347826.09	14.34782609	-89.99994659
14565217.39	14.56521739	-91.70160675
14782608.7	14.7826087	-92.36516571
15000000	15	-93.91009521
15217391.3	15.2173913	-92.93301392
15434782.61	15.43478261	-94.58367157
15652173.91	15.65217391	-90.8764267
15869565.22	15.86956522	-91.20497894
16086956.52	16.08695652	-92.99111176
16304347.83	16.30434783	-91.80919647
16521739.13	16.52173913	-94.67134857
16739130.43	16.73913043	-93.4825058
16956521.74	16.95652174	-93.6272049
17173913.04	17.17391304	-93.47023773
17391304.35	17.39130435	-93.63021088
17608695.65	17.60869565	-89.81388855
17826086.96	17.82608696	-94.05544281
18043478.26	18.04347826	-92.94356537
18260869.57	18.26086957	-90.81633759
18478260.87	18.47826087	-84.0772934
18695652.17	18.69565217	-94.14092255
18913043.48	18.91304348	-95.64928436
19130434.78	19.13043478	-94.26039886
19347826.09	19.34782609	-93.08444214
19565217.39	19.56521739	-92.52241516
19782608.7	19.7826087	-92.63592529
20000000	20	-93.83594513
20217391.3	20.2173913	-91.43971252
20434782.61	20.43478261	-93.17563629
20652173.91	20.65217391	-93.42689514
20869565.22	20.86956522	-90.75081635
21086956.52	21.08695652	-89.48290253
21304347.83	21.30434783	-89.50966644
21521739.13	21.52173913	-89.74124908
21739130.43	21.73913043	-90.08419037
21956521.74	21.95652174	-92.33802032
22173913.04	22.17391304	-92.58350372
22391304.35	22.39130435	-90.73930359
22608695.65	22.60869565	-89.47732544
22826086.96	22.82608696	-89.36640167
23043478.26	23.04347826	-83.69707489
23260869.57	23.26086957	-93.25983429
23478260.87	23.47826087	-92.33021545
23695652.17	23.69565217	-91.90381622
23913043.48	23.91304348	-93.05551147
24130434.78	24.13043478	-92.67821503
24347826.09	24.34782609	-92.67647552
24565217.39	24.56521739	-95.0553894
24782608.7	24.7826087	-93.64592743
25000000	25	-93.93907928
25217391.3	25.2173913	-95.49686432
25434782.61	25.43478261	-95.44494629
25652173.91	25.65217391	-94.103508
25869565.22	25.86956522	-91.73220062
26086956.52	26.08695652	-94.65390015
26304347.83	26.30434783	-93.79624176
26521739.13	26.52173913	-86.35955048
26739130.43	26.73913043	-92.26110077
26956521.74	26.95652174	-92.78269196
27173913.04	27.17391304	-89.36064148
27391304.35	27.39130435	-89.52413177
27608695.65	27.60869565	-92.40979767
27826086.96	27.82608696	-93.64981842
28043478.26	28.04347826	-88.92288971
28260869.57	28.26086957	-89.30769348
28478260.87	28.47826087	-86.0104599
28695652.17	28.69565217	-82.95587921
28913043.48	28.91304348	-86.80947876
29130434.78	29.13043478	-80.59037018
29347826.09	29.34782609	-88.88776398
29565217.39	29.56521739	-88.33927155
29782608.7	29.7826087	-89.78632355
30000000	30	-87.44586182
30217391.3	30.2173913	-93.75182343
30434782.61	30.43478261	-92.57237244
30652173.91	30.65217391	-88.47147369
30869565.22	30.86956522	-92.53093719
31086956.52	31.08695652	-93.15171051
31304347.83	31.30434783	-91.01730347
31521739.13	31.52173913	-92.61592102
31739130.43	31.73913043	-93.37340546
31956521.74	31.95652174	-94.74515533
32173913.04	32.17391304	-93.47428131
32391304.35	32.39130435	-91.51098633
32608695.65	32.60869565	-86.30821991
32826086.96	32.82608696	-87.63974762
33043478.26	33.04347826	-91.09499359
33260869.57	33.26086957	-90.45240021
33478260.87	33.47826087	-84.45513153
33695652.17	33.69565217	-89.60279083
33913043.48	33.91304348	-89.66897583
34130434.78	34.13043478	-84.83682251
34347826.09	34.34782609	-89.81780243
34565217.39	34.56521739	-82.633255
34782608.7	34.7826087	-86.42469025
35000000	35	-87.3009491
35217391.3	35.2173913	-87.6402359
35434782.61	35.43478261	-86.25187683
35652173.91	35.65217391	-92.84531403
35869565.22	35.86956522	-93.60058594
36086956.52	36.08695652	-87.36289978
36304347.83	36.30434783	-92.89421844
36521739.13	36.52173913	-93.99269867
36739130.43	36.73913043	-93.9717865
36956521.74	36.95652174	-92.60269928
37173913.04	37.17391304	-90.01464844
37391304.35	37.39130435	-91.19661713
37608695.65	37.60869565	-89.36558533
37826086.96	37.82608696	-90.80648804
38043478.26	38.04347826	-92.12306976
38260869.57	38.26086957	-92.02103424
38478260.87	38.47826087	-95.24622345
38695652.17	38.69565217	-93.19229889
38913043.48	38.91304348	-92.62276459
39130434.78	39.13043478	-96.12937927
39347826.09	39.34782609	-92.8364563
39565217.39	39.56521739	-89.4862442
39782608.7	39.7826087	-89.00650787
40000000	40	-90.55280304
40217391.3	40.2173913	-93.66436005
40434782.61	40.43478261	-88.24536896
40652173.91	40.65217391	-93.56628418
40869565.22	40.86956522	-94.34188843
41086956.52	41.08695652	-95.94876099
41304347.83	41.30434783	-94.72750854
41521739.13	41.52173913	-94.25900269
41739130.43	41.73913043	-93.5605011
41956521.74	41.95652174	-93.45848846
42173913.04	42.17391304	-94.17204285
42391304.35	42.39130435	-93.87835693
42608695.65	42.60869565	-96.14125061
42826086.96	42.82608696	-94.72348785
43043478.26	43.04347826	-94.49169159
43260869.57	43.26086957	-93.53150177
43478260.87	43.47826087	-93.45131683
43695652.17	43.69565217	-95.67593384
43913043.48	43.91304348	-91.24710083
44130434.78	44.13043478	-95.48088074
44347826.09	44.34782609	-93.98220062
44565217.39	44.56521739	-96.36615753
44782608.7	44.7826087	-91.86235046
45000000	45	-94.3582077
45217391.3	45.2173913	-92.51708221
45434782.61	45.43478261	-96.81404877
45652173.91	45.65217391	-89.97555542
45869565.22	45.86956522	-90.07442474
46086956.52	46.08695652	-92.79589081
46304347.83	46.30434783	-92.72923279
46521739.13	46.52173913	-93.85923004
46739130.43	46.73913043	-96.25007629
46956521.74	46.95652174	-94.75952911
47173913.04	47.17391304	-93.76398468
47391304.35	47.39130435	-97.66438293
47608695.65	47.60869565	-97.12033081
47826086.96	47.82608696	-92.23162079
48043478.26	48.04347826	-96.2625885
48260869.57	48.26086957	-96.15000916
48478260.87	48.47826087	-95.95704651
48695652.17	48.69565217	-96.56834412
48913043.48	48.91304348	-96.67287445
49130434.78	49.13043478	-96.73136139
49347826.09	49.34782609	-94.86183167
49565217.39	49.56521739	-96.17074585
49782608.7	49.7826087	-96.63258362
50000000	50	-96.59747314
50217391.3	50.2173913	-96.62018585
50434782.61	50.43478261	-97.19626617
50652173.91	50.65217391	-97.73069
50869565.22	50.86956522	-97.31548309
51086956.52	51.08695652	-95.82445526
51304347.83	51.30434783	-91.69228363
51521739.13	51.52173913	-96.84469604
51739130.43	51.73913043	-94.86727905
51956521.74	51.95652174	-95.48672485
52173913.04	52.17391304	-96.34902954
52391304.35	52.39130435	-98.24152374
52608695.65	52.60869565	-96.96437836
52826086.96	52.82608696	-98.19565582
53043478.26	53.04347826	-97.61818695
53260869.57	53.26086957	-98.97154999
53478260.87	53.47826087	-97.93600464
53695652.17	53.69565217	-100.1064911
53913043.48	53.91304348	-99.60922241
54130434.78	54.13043478	-100.5866852
54347826.09	54.34782609	-100.5585251
54565217.39	54.56521739	-98.66828918
54782608.7	54.7826087	-99.16979218
55000000	55	-100.1556549
55217391.3	55.2173913	-92.23919678
55434782.61	55.43478261	-101.227562
55652173.91	55.65217391	-99.16470337
55869565.22	55.86956522	-99.42282867
56086956.52	56.08695652	-101.0033035
56304347.83	56.30434783	-100.8502731
56521739.13	56.52173913	-100.5298386
56739130.43	56.73913043	-101.3199844
56956521.74	56.95652174	-99.69854736
57173913.04	57.17391304	-101.8600693
57391304.35	57.39130435	-102.3458252
57608695.65	57.60869565	-101.2432404
57826086.96	57.82608696	-100.0340576
58043478.26	58.04347826	-103.6837616
58260869.57	58.26086957	-101.2819138
58478260.87	58.47826087	-101.4632263
58695652.17	58.69565217	-103.2868271
58913043.48	58.91304348	-103.1494827
59130434.78	59.13043478	-102.3676376
59347826.09	59.34782609	-89.01480865
59565217.39	59.56521739	-102.3794327
59782608.7	59.7826087	-104.3177872
60000000	60	-102.7232132
60217391.3	60.2173913	-97.46031952
60434782.61	60.43478261	-101.2992935
60652173.91	60.65217391	-103.8632278
60869565.22	60.86956522	-103.2005234
61086956.52	61.08695652	-102.5198746
61304347.83	61.30434783	-100.8345032
61521739.13	61.52173913	-102.1744003
61739130.43	61.73913043	-102.3522873
61956521.74	61.95652174	-103.3806229
62173913.04	62.17391304	-103.178978
62391304.35	62.39130435	-103.5252228
62608695.65	62.60869565	-102.9189224
62826086.96	62.82608696	-102.0510406
63043478.26	63.04347826	-104.2627869
63260869.57	63.26086957	-102.4483871
63478260.87	63.47826087	-99.24697876
63695652.17	63.69565217	-102.724556
63913043.48	63.91304348	-105.6283112
64130434.78	64.13043478	-104.8637619
64347826.09	64.34782609	-105.0206299
64565217.39	64.56521739	-105.2402496
64782608.7	64.7826087	-104.4341583
65000000	65	-103.1878052
65217391.3	65.2173913	-104.7077713
65434782.61	65.43478261	-103.5709229
65652173.91	65.65217391	-106.3304749
65869565.22	65.86956522	-104.7253952
66086956.52	66.08695652	-105.4764481
66304347.83	66.30434783	-106.3888626
66521739.13	66.52173913	-103.937851
66739130.43	66.73913043	-104.7407532
66956521.74	66.95652174	-104.7244034
67173913.04	67.17391304	-106.0533752
67391304.35	67.39130435	-104.6928482
67608695.65	67.60869565	-105.9761353
67826086.96	67.82608696	-106.2690811
68043478.26	68.04347826	-106.4544296
68260869.57	68.26086957	-106.9675751
68478260.87	68.47826087	-105.2533493
68695652.17	68.69565217	-105.7623367
68913043.48	68.91304348	-106.8372116
69130434.78	69.13043478	-106.8824234
69347826.09	69.34782609	-106.1300125
69565217.39	69.56521739	-107.7534256
69782608.7	69.7826087	-106.0219574
70000000	70	-107.4252167
70217391.3	70.2173913	-105.1572266
70434782.61	70.43478261	-101.6969223
70652173.91	70.65217391	-106.458931
70869565.22	70.86956522	-105.7899551
71086956.52	71.08695652	-106.7120743
71304347.83	71.30434783	-105.9339676
71521739.13	71.52173913	-107.2752914
71739130.43	71.73913043	-106.2193756
71956521.74	71.95652174	-105.7677231
72173913.04	72.17391304	-107.3027496
72391304.35	72.39130435	-107.2895355
72608695.65	72.60869565	-107.2261047
72826086.96	72.82608696	-107.4819412
73043478.26	73.04347826	-106.2489166
73260869.57	73.26086957	-106.5610123
73478260.87	73.47826087	-108.5729446
73695652.17	73.69565217	-106.8488998
73913043.48	73.91304348	-106.7597733
74130434.78	74.13043478	-107.3161469
74347826.09	74.34782609	-108.5574875
74565217.39	74.56521739	-107.3490219
74782608.7	74.7826087	-109.0429916
75000000	75	-107.9214401
75217391.3	75.2173913	-106.4400787
75434782.61	75.43478261	-107.911438
75652173.91	75.65217391	-108.9675751
75869565.22	75.86956522	-106.4085312
76086956.52	76.08695652	-108.0702209
76304347.83	76.30434783	-108.1541901
76521739.13	76.52173913	-105.4193497
76739130.43	76.73913043	-106.2628098
76956521.74	76.95652174	-106.2076721
77173913.04	77.17391304	-103.9110718
77391304.35	77.39130435	-105.9165955
77608695.65	77.60869565	-107.2326508
77826086.96	77.82608696	-107.3208237
78043478.26	78.04347826	-107.7041779
78260869.57	78.26086957	-108.4966736
78478260.87	78.47826087	-107.6844254
78695652.17	78.69565217	-106.4208374
78913043.48	78.91304348	-107.1063919
79130434.78	79.13043478	-105.7525864
79347826.09	79.34782609	-107.3671036
79565217.39	79.56521739	-106.9720688
79782608.7	79.7826087	-105.5645065
80000000	80	-104.9665909
80217391.3	80.2173913	-106.0600815
80434782.61	80.43478261	-104.7494659
80652173.91	80.65217391	-105.8017883
80869565.22	80.86956522	-103.7416
81086956.52	81.08695652	-101.352272
81304347.83	81.30434783	-106.29496
81521739.13	81.52173913	-104.2953262
81739130.43	81.73913043	-104.4805527
81956521.74	81.95652174	-102.2042389
82173913.04	82.17391304	-101.7882767
82391304.35	82.39130435	-104.419136
82608695.65	82.60869565	-105.1057434
82826086.96	82.82608696	-105.0372314
83043478.26	83.04347826	-104.0598221
83260869.57	83.26086957	-103.4448547
83478260.87	83.47826087	-102.9643402
83695652.17	83.69565217	-104.1049881
83913043.48	83.91304348	-104.9544678
84130434.78	84.13043478	-104.8963776
84347826.09	84.34782609	-104.2662125
84565217.39	84.56521739	-104.5562744
84782608.7	84.7826087	-104.7158508
85000000	85	-104.6143265
85217391.3	85.2173913	-105.7715073
85434782.61	85.43478261	-106.2818756
85652173.91	85.65217391	-104.5451355
85869565.22	85.86956522	-103.9383392
86086956.52	86.08695652	-105.6115112
86304347.83	86.30434783	-105.6266861
86521739.13	86.52173913	-105.6949539
86739130.43	86.73913043	-105.2171478
86956521.74	86.95652174	-105.1395111
87173913.04	87.17391304	-105.0814285
87391304.35	87.39130435	-106.2036591
87608695.65	87.60869565	-106.2172546
87826086.96	87.82608696	-106.0627213
88043478.26	88.04347826	-105.8372498
88260869.57	88.26086957	-107.7890778
88478260.87	88.47826087	-106.053688
88695652.17	88.69565217	-106.2603378
88913043.48	88.91304348	-107.1232529
89130434.78	89.13043478	-96.44582367
89347826.09	89.34782609	-107.1191025
89565217.39	89.56521739	-107.0933914
89782608.7	89.7826087	-107.4649734
90000000	90	-107.8610306
90217391.3	90.2173913	-106.3734741
90434782.61	90.43478261	-107.8239288
90652173.91	90.65217391	-92.35445404
90869565.22	90.86956522	-108.6070023
91086956.52	91.08695652	-109.0179214
91304347.83	91.30434783	-108.2314987
91521739.13	91.52173913	-107.2592392
91739130.43	91.73913043	-108.1179123
91956521.74	91.95652174	-109.5798569
92173913.04	92.17391304	-106.7232971
92391304.35	92.39130435	-108.0445633
92608695.65	92.60869565	-108.8781433
92826086.96	92.82608696	-108.3630447
93043478.26	93.04347826	-107.3750687
93260869.57	93.26086957	-108.4855194
93478260.87	93.47826087	-108.6843796
93695652.17	93.69565217	-107.5296555
93913043.48	93.91304348	-107.2644424
94130434.78	94.13043478	-108.2233047
94347826.09	94.34782609	-108.6641617
94565217.39	94.56521739	-107.6362686
94782608.7	94.7826087	-107.1499329
95000000	95	-101.6141663
95217391.3	95.2173913	-109.3968887
95434782.61	95.43478261	-107.4972534
95652173.91	95.65217391	-109.0606461
95869565.22	95.86956522	-108.9828262
96086956.52	96.08695652	-108.1172638
96304347.83	96.30434783	-109.4703369
96521739.13	96.52173913	-108.2698517
96739130.43	96.73913043	-107.1626205
96956521.74	96.95652174	-108.5176773
97173913.04	97.17391304	-108.3800278
97391304.35	97.39130435	-109.2641068
97608695.65	97.60869565	-108.3362045
97826086.96	97.82608696	-107.7466431
98043478.26	98.04347826	-109.5739441
98260869.57	98.26086957	-108.23806
98478260.87	98.47826087	-108.9859009
98695652.17	98.69565217	-108.7840805
98913043.48	98.91304348	-108.7292252
99130434.78	99.13043478	-96.5983963
99347826.09	99.34782609	-108.1557999
99565217.39	99.56521739	-109.0747147
99782608.7	99.7826087	-109.3445816
100000000	100	-101.3834457