## Noise Figure
			Without Output Protection Diodes
Frequency [Hz]	Frequency [MHz]	ZMSCJ-2-1 AVG IL [dB]	Power Measured, Noise Source Off [dBm]	Power Measured, Noise Source On [dBm]	Y-Factor	Noise Figure, No Diodes [dB]
0	0	0.60	-9.54899025	-9.845495224	-0.296504974	Err:502
217391.3043	0.2173913043	0.60	-24.94914627	-25.06518364	-0.11603737	Err:502
434782.6087	0.4347826087	0.60	-26.91415977	-27.12804222	-0.21388245	Err:502		2.9383948096
652173.913	0.652173913	0.60	-29.46033859	-29.37603188	0.08430671	31.5970001505		#REF!
869565.2174	0.8695652174	0.60	-32.56246185	-32.74819183	-0.18572998	Err:502
1086956.522	1.086956522	0.60	-37.2124176	-36.85454559	0.35787201	25.1804011124
1304347.826	1.304347826	0.60	-41.8079071	-42.00959015	-0.20168305	Err:502
1521739.13	1.52173913	0.60	-48.1567955	-48.1003685	0.056427	33.3547294537
1739130.435	1.739130435	0.60	-55.24001312	-54.68324661	0.55676651	23.159755157
1956521.739	1.956521739	0.60	-61.47556305	-59.91482544	1.56073761	18.1608301518
2173913.043	2.173913043	0.60	-66.30780029	-62.43424606	3.87355423	12.9369580405
2391304.348	2.391304348	0.60	-68.95461273	-63.38838577	5.56622696	10.3658336762
2608695.652	2.608695652	0.60	-70.4659729	-63.4419136	7.0240593	8.4564933225
2826086.957	2.826086957	0.60	-71.70633698	-63.35597992	8.35035706	6.8561104112
3043478.261	3.043478261	0.60	-72.32197571	-63.03984451	9.2821312	5.7830556967
3260869.565	3.260869565	0.60	-72.69103241	-63.22423172	9.46680069	5.5742708529
3478260.87	3.47826087	0.60	-72.83088684	-63.23137283	9.59951401	5.4249275781
3695652.174	3.695652174	0.60	-73.96549988	-63.35509491	10.61040497	4.3043542441
3913043.478	3.913043478	0.60	-73.53160095	-63.2428894	10.28871155	4.6579377054
4130434.783	4.130434783	0.60	-74.20468903	-63.5231514	10.68153763	4.2265132106
4347826.087	4.347826087	0.60	-74.35300446	-63.4490242	10.90398026	3.9838504813
4565217.391	4.565217391	0.60	-74.29949188	-63.3620224	10.93746948	3.9474136562
4782608.696	4.782608696	0.60	-74.54064941	-63.34272003	11.19792938	3.6648524069
5000000	5	0.60	-74.59401703	-63.28521729	11.30879974	3.5450011471
5217391.304	5.217391304	0.60	-74.14774323	-63.36400223	10.783741	4.1148791224
5434782.609	5.434782609	0.60	-74.45963287	-63.47591019	10.98372268	3.8971298441
5652173.913	5.652173913	0.60	-74.80805969	-63.33795166	11.47010803	3.3710604946
5869565.217	5.869565217	0.60	-74.534935	-63.35605621	11.17887879	3.6854712818
6086956.522	6.086956522	0.60	-74.74878693	-62.9348526	11.81393433	3.0019352921
6304347.826	6.304347826	0.60	-74.51276398	-63.48979568	11.0229683	3.8545006618
6521739.13	6.52173913	0.60	-74.52786255	-63.43122101	11.09664154	3.7745646267
6739130.435	6.739130435	0.60	-74.68737793	-63.24826813	11.4391098	3.4044471583
6956521.739	6.956521739	0.60	-74.56982422	-63.53461838	11.03520584	3.8412148351
7173913.043	7.173913043	0.60	-75.03321838	-63.52394867	11.50926971	3.3289075063
7391304.348	7.391304348	0.60	-74.65328979	-63.39826584	11.25502395	3.6031020228
7608695.652	7.608695652	0.60	-75.0739212	-63.47810745	11.59581375	3.2358549434
7826086.957	7.826086957	0.60	-74.9491806	-63.36922073	11.57995987	3.2528907026
8043478.261	8.043478261	0.60	-74.85164642	-63.73233032	11.1193161	3.7499856285
8260869.565	8.260869565	0.60	-74.73872375	-63.73381424	11.00490951	3.8741122664
8478260.87	8.47826087	0.60	-74.96685028	-63.7345047	11.23234558	3.6276217944
8695652.174	8.695652174	0.60	-74.86399078	-63.79221344	11.07177734	3.8015296029
8913043.478	8.913043478	0.60	-74.75965118	-63.78843307	10.97121811	3.9107194932
9130434.783	9.130434783	0.60	-75.25319672	-63.50579834	11.74739838	3.0732007656
9347826.087	9.347826087	0.60	-75.38775635	-63.76276398	11.62499237	3.2045131867
9565217.391	9.565217391	0.60	-75.19943237	-64.06635284	11.13307953	3.7350714519
9782608.696	9.782608696	0.60	-75.74420166	-63.93551636	11.8086853	3.007554622
10000000	10	0.60	-75.32795715	-63.76541901	11.56253814	3.2716165508
10217391.3	10.2173913	0.60	-76.56532288	-64.19493866	12.37038422	2.4088197384
10434782.61	10.43478261	0.60	-76.55113983	-64.21064758	12.34049225	2.4405568267
10652173.91	10.65217391	0.60	-76.4702301	-64.11586761	12.35436249	2.4258287524
10869565.22	10.86956522	0.60	-76.97750092	-64.27188873	12.70561219	2.0537957224
11086956.52	11.08695652	0.60	-76.78096771	-64.28871155	12.49225616	2.2795630269
11304347.83	11.30434783	0.60	-76.84364319	-64.29612732	12.54751587	2.2210265843
11521739.13	11.52173913	0.60	-76.69599915	-64.19242859	12.50357056	2.2675741167
11739130.43	11.73913043	0.60	-76.98752594	-64.32205963	12.66546631	2.0962279576
11956521.74	11.95652174	0.60	-76.89480591	-64.10197449	12.79283142	1.9616855383
12173913.04	12.17391304	0.60	-76.94660187	-64.31993103	12.62667084	2.1372542067
12391304.35	12.39130435	0.60	-77.2284317	-64.34104919	12.88738251	1.8619481585
12608695.65	12.60869565	0.60	-77.20832825	-64.17693329	13.03139496	1.7102615571
12826086.96	12.82608696	0.60	-77.11659241	-64.65438843	12.46220398	2.3114158423
13043478.26	13.04347826	0.60	-77.04314423	-64.21204376	12.83110047	1.9213030065
13260869.57	13.26086957	0.60	-76.89573669	-64.69147491	12.20426178	2.5853692925
13478260.87	13.47826087	0.60	-76.90852356	-64.06430817	12.84421539	1.9074682988
13695652.17	13.69565217	0.60	-77.05066681	-64.60560608	12.44506073	2.3295921959
13913043.48	13.91304348	0.60	-77.07762909	-64.91722107	12.16040802	2.6320471487
14130434.78	14.13043478	0.60	-77.10843658	-64.67526245	12.43317413	2.3421976608
14347826.09	14.34782609	0.60	-77.2257309	-64.90309906	12.32263184	2.4595261456
14565217.39	14.56521739	0.60	-77.35496521	-64.45183563	12.90312958	1.8453488428
14782608.7	14.7826087	0.60	-77.39427185	-64.76845551	12.62581634	2.1381580789
15000000	15	0.60	-77.22029114	-65.13426208	12.08602906	2.7112859495
15217391.3	15.2173913	0.60	-77.16282654	-64.65061951	12.51220703	2.2584240335
15434782.61	15.43478261	0.60	-77.56842804	-64.94282532	12.62560272	2.1383840433
15652173.91	15.65217391	0.60	-77.5788269	-64.8503418	12.7284851	2.0296301259
15869565.22	15.86956522	0.60	-77.38514709	-65.30078125	12.08436584	2.7130588595
16086956.52	16.08695652	0.60	-77.65159607	-65.28037262	12.37122345	2.4079289002
16304347.83	16.30434783	0.60	-77.81615448	-65.00614166	12.81001282	1.9435528311
16521739.13	16.52173913	0.60	-77.75032806	-65.02968597	12.72064209	2.0379155817
16739130.43	16.73913043	0.60	-77.86872864	-64.40567017	13.46305847	1.2571348964
16956521.74	16.95652174	0.60	-77.56952667	-64.85667419	12.71285248	2.0461454614
17173913.04	17.17391304	0.60	-77.71066284	-65.45557404	12.2550888	2.5313068506
17391304.35	17.39130435	0.60	-77.62821198	-65.20677185	12.42144013	2.3546433465
17608695.65	17.60869565	0.60	-77.63850403	-65.22363281	12.41487122	2.3616115627
17826086.96	17.82608696	0.60	-77.85438538	-65.22496033	12.62942505	2.1343409309
18043478.26	18.04347826	0.60	-78.25935364	-65.39225769	12.86709595	1.8833374584
18260869.57	18.26086957	0.60	-77.56855011	-65.49855042	12.06999969	2.7283743287
18478260.87	18.47826087	0.60	-77.98587799	-65.68551636	12.30036163	2.4831858615
18695652.17	18.69565217	0.60	-78.16062164	-65.14342499	13.01719665	1.7252046165
18913043.48	18.91304348	0.60	-77.97393799	-65.32246399	12.651474	2.1110224112
19130434.78	19.13043478	0.60	-78.00693512	-65.55330658	12.45362854	2.3205075235
19347826.09	19.34782609	0.60	-77.88309479	-65.52861023	12.35448456	2.4256991456
19565217.39	19.56521739	0.60	-78.09677887	-65.56215668	12.53462219	2.234680875
19782608.7	19.7826087	0.60	-78.30631256	-65.83811188	12.46820068	2.3050587828
20000000	20	0.60	-77.75535583	-65.59509277	12.16026306	2.6322014943
20217391.3	20.2173913	0.60	-77.99720764	-65.51499939	12.48220825	2.2902115082
20434782.61	20.43478261	0.60	-78.1827774	-65.41235352	12.77042388	1.9853397322
20652173.91	20.65217391	0.60	-78.07286835	-65.46208191	12.61078644	2.1540580748
20869565.22	20.86956522	0.60	-78.08405304	-65.61118317	12.47286987	2.3001093722
21086956.52	21.08695652	0.60	-77.99714661	-65.71412659	12.28302002	2.5016147223
21304347.83	21.30434783	0.60	-77.84609222	-65.41144562	12.4346466	2.340636027
21521739.13	21.52173913	0.60	-78.17076111	-65.45100403	12.71975708	2.0388505706
21739130.43	21.73913043	0.60	-78.15551758	-65.87503815	12.28047943	2.5043149851
21956521.74	21.95652174	0.60	-78.298172	-65.76066589	12.53750611	2.2316266221
22173913.04	22.17391304	0.60	-78.14736176	-65.50006866	12.6472931	2.1154435223
22391304.35	22.39130435	0.60	-77.94135284	-65.42559052	12.51576232	2.2546576236
22608695.65	22.60869565	0.60	-78.30283356	-65.88945007	12.41338349	2.3631898168
22826086.96	22.82608696	0.60	-78.47504425	-65.77603149	12.69901276	2.0607694652
23043478.26	23.04347826	0.60	-78.51604462	-65.67669678	12.83934784	1.9126027276
23260869.57	23.26086957	0.60	-78.28145599	-65.79103851	12.49041748	2.2815114962
23478260.87	23.47826087	0.60	-78.34938049	-65.96498108	12.38439941	2.3939440752
23695652.17	23.69565217	0.60	-78.57229614	-65.76455688	12.80773926	1.9459520467
23913043.48	23.91304348	0.60	-78.63018799	-65.70027924	12.92990875	1.8171278176
24130434.78	24.13043478	0.60	-78.24105072	-65.90730286	12.33374786	2.4477193902
24347826.09	24.34782609	0.60	-78.37250519	-66.12522888	12.24727631	2.5396140333
24565217.39	24.56521739	0.60	-78.36398315	-66.26197052	12.10201263	2.6942505367
24782608.7	24.7826087	0.60	-78.1802063	-66.06532288	12.11488342	2.6805357423
25000000	25	0.60	-78.53676605	-66.24653625	12.2902298	2.493952357
25217391.3	25.2173913	0.60	-78.42024231	-65.92622375	12.49401856	2.2776954386
25434782.61	25.43478261	0.60	-78.5608139	-66.00288391	12.55792999	2.2099998685
25652173.91	25.65217391	0.60	-78.24311829	-66.03842926	12.20468903	2.5849146774
25869565.22	25.86956522	0.60	-78.66204071	-66.2073822	12.45465851	2.3194154923
26086956.52	26.08695652	0.60	-78.62534332	-66.38607788	12.23926544	2.5481331413
26304347.83	26.30434783	0.60	-78.19421387	-66.30539703	11.88881684	2.9218219159
26521739.13	26.52173913	0.60	-77.91481018	-66.07356262	11.84124756	2.9727029264
26739130.43	26.73913043	0.60	-78.40096283	-66.19848633	12.2024765	2.5872689494
26956521.74	26.95652174	0.60	-78.18815613	-65.72183228	12.46632385	2.3070483404
27173913.04	27.17391304	0.60	-78.1285553	-66.28623199	11.84232331	2.971551854
27391304.35	27.39130435	0.60	-77.80274963	-66.01473999	11.78800964	3.0296935443
27608695.65	27.60869565	0.60	-78.06587219	-66.48981476	11.57605743	3.2570847745
27826086.96	27.82608696	0.60	-77.44989014	-66.23976135	11.21012879	3.6516526187
28043478.26	28.04347826	0.60	-78.11574554	-65.83197784	12.2837677	2.5008200705
28260869.57	28.26086957	0.60	-78.37956238	-66.35977936	12.01978302	2.7819357653
28478260.87	28.47826087	0.60	-78.46944427	-66.19267273	12.27677154	2.5082560896
28695652.17	28.69565217	0.60	-78.44753265	-66.41236877	12.03516388	2.7655260509
28913043.48	28.91304348	0.60	-78.48365021	-66.15473938	12.32891083	2.4528567564
29130434.78	29.13043478	0.60	-78.60284424	-66.28590393	12.31694031	2.4655720677
29347826.09	29.34782609	0.60	-78.35287476	-66.61265564	11.74021912	3.0808949987
29565217.39	29.56521739	0.60	-78.66352081	-66.18141174	12.48210907	2.2903166236
29782608.7	29.7826087	0.60	-78.44224548	-66.49058533	11.95166015	2.8546625502
30000000	30	0.60	-78.61341858	-66.75209045	11.86132813	2.9512196313
30217391.3	30.2173913	0.60	-78.86814117	-66.37861633	12.48952484	2.2824574543
30434782.61	30.43478261	0.60	-78.40711975	-66.52503967	11.88208008	2.9290253283
30652173.91	30.65217391	0.60	-78.54485321	-66.51228333	12.03256988	2.768293296
30869565.22	30.86956522	0.60	-78.8866272	-66.65511322	12.23151398	2.5563773314
31086956.52	31.08695652	0.60	-79.08280945	-66.72652435	12.3562851	2.4237874639
31304347.83	31.30434783	0.60	-78.61366272	-66.50965881	12.10400391	2.6921285038
31521739.13	31.52173913	0.60	-78.71907043	-66.71929932	11.99977111	2.8032921428
31739130.43	31.73913043	0.60	-78.67454529	-66.37837219	12.2961731	2.4876365734
31956521.74	31.95652174	0.60	-78.93816376	-66.06581116	12.8723526	1.8777945451
32173913.04	32.17391304	0.60	-78.83670807	-66.53588104	12.30082703	2.4826913463
32391304.35	32.39130435	0.60	-78.61413574	-66.49754333	12.11659241	2.6787148853
32608695.65	32.60869565	0.60	-78.72581482	-66.64421082	12.081604	2.7160029428
32826086.96	32.82608696	0.60	-78.73363495	-66.59857178	12.13506317	2.6590380547
33043478.26	33.04347826	0.60	-78.97394562	-66.71282196	12.26112366	2.5248905059
33260869.57	33.26086957	0.60	-78.63353729	-67.05179596	11.58174133	3.2509762066
33478260.87	33.47826087	0.60	-78.51970673	-66.65854645	11.86116028	2.9513991777
33695652.17	33.69565217	0.60	-79.11206818	-66.68180847	12.43025971	2.3452886546
33913043.48	33.91304348	0.60	-78.57315826	-66.50458527	12.06857299	2.7298954883
34130434.78	34.13043478	0.60	-78.49195099	-66.87486267	11.61708832	3.2130016573
34347826.09	34.34782609	0.60	-78.75276947	-66.34727478	12.40549469	2.3715591778
34565217.39	34.56521739	0.60	-78.03063202	-66.91600037	11.11463165	3.755062643
34782608.7	34.7826087	0.60	-78.27902222	-66.72566986	11.55335236	3.2814922076
35000000	35	0.60	-78.07861328	-66.66804504	11.41056824	3.4352041637
35217391.3	35.2173913	0.60	-77.93622589	-66.73422241	11.20200348	3.6604438836
35434782.61	35.43478261	0.60	-78.2271347	-66.85020447	11.37693023	3.4714734427
35652173.91	35.65217391	0.60	-78.15772247	-66.80067444	11.35704803	3.4929212562
35869565.22	35.86956522	0.60	-78.02901459	-66.73435974	11.29465485	3.5602780822
36086956.52	36.08695652	0.60	-77.8790741	-66.66287994	11.21619416	3.6450910055
36304347.83	36.30434783	0.60	-77.80606842	-66.65653992	11.1495285	3.7172523728
36521739.13	36.52173913	0.60	-77.96614075	-66.7858429	11.18029785	3.6839351449
36739130.43	36.73913043	0.60	-78.46665955	-66.56049347	11.90616608	2.9032744587
36956521.74	36.95652174	0.60	-77.84603119	-66.90570068	10.94033051	3.9443019528
37173913.04	37.17391304	0.60	-78.10546875	-66.70600891	11.39945984	3.4471790681
37391304.35	37.39130435	0.60	-78.05706024	-66.73812103	11.31893921	3.5340526407
37608695.65	37.60869565	0.60	-78.48350525	-67.10624695	11.3772583	3.4711196038
37826086.96	37.82608696	0.60	-77.99014282	-66.63544464	11.35469818	3.4954566554
38043478.26	38.04347826	0.60	-78.21075439	-66.66904449	11.5417099	3.2940113051
38260869.57	38.26086957	0.60	-78.51809692	-66.5865097	11.93158722	2.8761068343
38478260.87	38.47826087	0.60	-78.46726227	-66.90974426	11.55751801	3.2770135116
38695652.17	38.69565217	0.60	-78.35087585	-66.63589478	11.71498107	3.1079506502
38913043.48	38.91304348	0.60	-78.32549286	-66.92914581	11.39634705	3.4505350984
39130434.78	39.13043478	0.60	-78.48512268	-66.91152191	11.57360077	3.2597251668
39347826.09	39.34782609	0.60	-78.78526306	-66.833992	11.95127106	2.855078158
39565217.39	39.56521739	0.60	-78.49125671	-66.76850891	11.7227478	3.0996233669
39782608.7	39.7826087	0.60	-78.38101959	-66.79602051	11.58499908	3.2474753256
40000000	40	0.60	-78.71763611	-67.08129883	11.63633728	3.1923314348
40217391.3	40.2173913	0.60	-78.61490631	-66.97550964	11.63939667	3.1890467746
40434782.61	40.43478261	0.60	-78.89230347	-67.09062195	11.80168152	3.0150532398
40652173.91	40.65217391	0.60	-79.07920837	-66.70241547	12.3767929	2.4020172269
40869565.22	40.86956522	0.60	-78.9091568	-66.93312073	11.97603607	2.8286303789
41086956.52	41.08695652	0.60	-78.78022766	-67.1574707	11.62275696	3.2069137657
41304347.83	41.30434783	0.60	-78.77134705	-66.6421051	12.12924195	2.6652387888
41521739.13	41.52173913	0.60	-78.92756653	-66.71357727	12.21398926	2.5750194837
41739130.43	41.73913043	0.60	-79.35011292	-67.17650604	12.17360688	2.6179951126
41956521.74	41.95652174	0.60	-78.8776474	-67.04518127	11.83246613	2.9820999661
42173913.04	42.17391304	0.60	-78.92105865	-66.63111115	12.2899475	2.4942523631
42391304.35	42.39130435	0.60	-78.93534088	-67.01735687	11.91798401	2.8906432537
42608695.65	42.60869565	0.60	-78.47625732	-66.96669006	11.50956726	3.3285873393
42826086.96	42.82608696	0.60	-78.59760284	-66.93888855	11.65871429	3.1683106791
43043478.26	43.04347826	0.60	-78.92640686	-66.79605865	12.13034821	2.6640603645
43260869.57	43.26086957	0.60	-78.92552185	-66.91501617	12.01050568	2.7918355663
43478260.87	43.47826087	0.60	-78.69474792	-67.03999329	11.65475463	3.1725605418
43695652.17	43.69565217	0.60	-78.77249146	-66.92689514	11.84559632	2.9680497955
43913043.48	43.91304348	0.60	-78.63050842	-66.89582825	11.73468017	3.0868318852
44130434.78	44.13043478	0.60	-79.00956726	-67.24662781	11.76293945	3.0565480443
44347826.09	44.34782609	0.60	-78.90557861	-67.2838974	11.62168121	3.2080690328
44565217.39	44.56521739	0.60	-79.0945282	-67.19043732	11.90409088	2.9054927121
44782608.7	44.7826087	0.60	-78.90581512	-67.04768372	11.8581314	2.9546392043
45000000	45	0.60	-78.83765411	-66.93654633	11.90110778	2.9086815795
45217391.3	45.2173913	0.60	-78.97898102	-66.97428894	12.00469208	2.7980399522
45434782.61	45.43478261	0.60	-79.20102692	-66.83817291	12.36285401	2.4168134901
45652173.91	45.65217391	0.60	-78.5772171	-67.36190796	11.21530914	3.6460483875
45869565.22	45.86956522	0.60	-79.13855743	-67.420784	11.71777343	3.1049566316
46086956.52	46.08695652	0.60	-79.17417908	-67.50746155	11.66671753	3.1597217495
46304347.83	46.30434783	0.60	-78.73735809	-67.34363556	11.39372253	3.4533648503
46521739.13	46.52173913	0.60	-78.73238373	-67.0390625	11.69332123	3.1311794514
46739130.43	46.73913043	0.60	-78.97074127	-67.20204163	11.76869964	3.0503769099
46956521.74	46.95652174	0.60	-78.95336914	-67.13310242	11.82026672	2.9951568123
47173913.04	47.17391304	0.60	-79.04618835	-66.91176605	12.1344223	2.6597206796
47391304.35	47.39130435	0.60	-78.46980286	-66.97108459	11.49871827	3.3402620475
47608695.65	47.60869565	0.60	-78.84975433	-67.24324799	11.60650634	3.224367853
47826086.96	47.82608696	0.60	-78.75821686	-66.88536835	11.87284851	2.9388976235
48043478.26	48.04347826	0.60	-78.71411896	-67.16923523	11.54488373	3.2905982459
48260869.57	48.26086957	0.60	-78.93797302	-67.01125336	11.92671966	2.8813079606
48478260.87	48.47826087	0.60	-78.77058411	-66.53292847	12.23765564	2.5498451931
48695652.17	48.69565217	0.60	-78.82217407	-67.22418976	11.59798431	3.2335229325
48913043.48	48.91304348	0.60	-78.53495789	-67.18722534	11.34773255	3.5029729433
49130434.78	49.13043478	0.60	-78.68894958	-66.97276306	11.71618652	3.106658128
49347826.09	49.34782609	0.60	-78.54256439	-67.16088104	11.38168335	3.4663471844
49565217.39	49.56521739	0.60	-78.80709839	-66.74643707	12.06066132	2.7383315787
49782608.7	49.7826087	0.60	-78.97662354	-66.8995285	12.07709504	2.7208096976
50000000	50	0.60	-78.66734314	-67.27033997	11.39700317	3.4498276921
50217391.3	50.2173913	0.60	-78.65096283	-67.43159485	11.21936798	3.6416578155
50434782.61	50.43478261	0.60	-78.81198883	-67.20574951	11.60623932	3.224654688
50652173.91	50.65217391	0.60	-78.8469696	-67.06782532	11.77914428	3.0391886143
50869565.22	50.86956522	0.60	-79.03037262	-67.33900452	11.6913681	3.1332744721
51086956.52	51.08695652	0.60	-79.14512634	-67.00310516	12.14202118	2.651627128
51304347.83	51.30434783	0.60	-79.10823822	-67.31440735	11.79383087	3.0234595782
51521739.13	51.52173913	0.60	-78.92762756	-67.32634735	11.60128021	3.2299820419
51739130.43	51.73913043	0.60	-79.46492004	-67.28858948	12.17633056	2.6150957169
51956521.74	51.95652174	0.60	-79.00535583	-67.22447205	11.78088378	3.0373254483
52173913.04	52.17391304	0.60	-79.07551575	-66.95238495	12.1231308	2.6717489383
52391304.35	52.39130435	0.60	-78.83728027	-67.28999329	11.54728698	3.2880139747
52608695.65	52.60869565	0.60	-78.81416321	-67.13969421	11.674469	3.1514041179
52826086.96	52.82608696	0.60	-79.06746674	-67.53401184	11.5334549	3.3028894115
53043478.26	53.04347826	0.60	-79.11331177	-67.23597717	11.8773346	2.9340999906
53260869.57	53.26086957	0.60	-78.89927673	-66.9450531	11.95422363	2.8519244239
53478260.87	53.47826087	0.60	-79.03755951	-67.5695343	11.46802521	3.3733032225
53695652.17	53.69565217	0.60	-78.83644867	-67.23845673	11.59799194	3.2335147351
53913043.48	53.91304348	0.60	-79.0324707	-67.33877563	11.69369507	3.1307784606
54130434.78	54.13043478	0.60	-78.78131104	-67.25582123	11.52548981	3.3114569335
54347826.09	54.34782609	0.60	-78.3764801	-67.31533051	11.06114959	3.8130592788
54565217.39	54.56521739	0.60	-78.68939209	-67.00379944	11.68559265	3.1394698967
54782608.7	54.7826087	0.60	-78.91030121	-67.28143311	11.6288681	3.2003513047
55000000	55	0.60	-78.22267151	-67.07133484	11.15133667	3.7152939347
55217391.3	55.2173913	0.60	-78.49732208	-67.07858276	11.41873932	3.4263972265
55434782.61	55.43478261	0.60	-78.22938538	-67.11207581	11.11730957	3.7521602528
55652173.91	55.65217391	0.60	-78.55000305	-67.62644958	10.92355347	3.9625515029
55869565.22	55.86956522	0.60	-78.76661682	-67.08821869	11.67839813	3.147188421
56086956.52	56.08695652	0.60	-78.78348541	-67.61160278	11.17188263	3.6930452525
56304347.83	56.30434783	0.60	-79.01625061	-67.16773987	11.84851074	2.9649315769
56521739.13	56.52173913	0.60	-78.7544632	-66.94075012	11.81371308	3.0021721408
56739130.43	56.73913043	0.60	-78.52835846	-67.14848328	11.37987518	3.4682972509
56956521.74	56.95652174	0.60	-78.51618958	-66.95567322	11.56051636	3.2737900373
57173913.04	57.17391304	0.60	-78.73816681	-67.17656708	11.56159973	3.272625366
57391304.35	57.39130435	0.60	-78.79414368	-67.35951233	11.43463135	3.4092721965
57608695.65	57.60869565	0.60	-79.41728973	-67.03927612	12.37801361	2.4007215707
57826086.96	57.82608696	0.60	-79.10570526	-67.01835632	12.08734894	2.7098790548
58043478.26	58.04347826	0.60	-79.20488739	-67.36506653	11.83982086	2.9742295526
58260869.57	58.26086957	0.60	-79.30323029	-67.1625061	12.14072419	2.6530084842
58478260.87	58.47826087	0.60	-79.49781799	-67.1807251	12.31709289	2.4654099806
58695652.17	58.69565217	0.60	-79.17787933	-67.10417175	12.07370758	2.7244210996
58913043.48	58.91304348	0.60	-79.29933167	-67.20243073	12.09690094	2.6996981669
59130434.78	59.13043478	0.60	-79.04324341	-66.95095062	12.09229279	2.7046095258
59347826.09	59.34782609	0.60	-79.02812195	-67.19164276	11.83647919	2.9778054109
59565217.39	59.56521739	0.60	-79.03833008	-67.20074463	11.83758545	2.9766216015
59782608.7	59.7826087	0.60	-79.36252594	-67.59214783	11.77037811	3.048578804
60000000	60	0.60	-79.10300446	-67.53862	11.56438446	3.2696317564
60217391.3	60.2173913	0.60	-79.32743073	-67.16822815	12.15920258	2.6333306462
60434782.61	60.43478261	0.60	-79.16904449	-67.16617584	12.00286865	2.7999860669
60652173.91	60.65217391	0.60	-78.99226379	-67.28827667	11.70398712	3.1197399138
60869565.22	60.86956522	0.60	-78.99714661	-67.31775665	11.67938996	3.1461242969
61086956.52	61.08695652	0.60	-78.89489746	-67.04270172	11.85219574	2.9609891028
61304347.83	61.30434783	0.60	-79.48471832	-67.45935059	12.02536773	2.775977034
61521739.13	61.52173913	0.60	-79.28331757	-67.24208069	12.04123688	2.7590478858
61739130.43	61.73913043	0.60	-79.15624237	-67.01834869	12.13789368	2.6560232055
61956521.74	61.95652174	0.60	-78.90621948	-67.02040863	11.88581085	2.9250360339
62173913.04	62.17391304	0.60	-78.95201111	-67.26727295	11.68473816	3.1403865738
62391304.35	62.39130435	0.60	-79.20165253	-67.35600281	11.84564972	2.96799266
62608695.65	62.60869565	0.60	-79.30366516	-67.01262665	12.29103851	2.493092931
62826086.96	62.82608696	0.60	-79.15879822	-67.07756042	12.0812378	2.7163933162
63043478.26	63.04347826	0.60	-79.2661972	-67.26441193	12.00178527	2.8011423654
63260869.57	63.26086957	0.60	-79.3677063	-67.16696167	12.20074463	2.5891118223
63478260.87	63.47826087	0.60	-79.05979156	-67.05348969	12.00630187	2.7963218974
63695652.17	63.69565217	0.60	-79.11891174	-67.23161316	11.88729858	2.9234452776
63913043.48	63.91304348	0.60	-79.31778717	-67.18516541	12.13262176	2.6616385663
64130434.78	64.13043478	0.60	-79.07095337	-67.17961121	11.89134216	2.9191218675
64347826.09	64.34782609	0.60	-79.42250824	-67.39029694	12.0322113	2.7686758331
64565217.39	64.56521739	0.60	-79.2241745	-67.06778717	12.15638733	2.6363282857
64782608.7	64.7826087	0.60	-79.14207458	-67.27774811	11.86432647	2.9480124375
65000000	65	0.60	-79.25627899	-67.14915466	12.10712433	2.6888033169
65217391.3	65.2173913	0.60	-78.8815155	-67.30116272	11.58035278	3.2524684458
65434782.61	65.43478261	0.60	-79.03159332	-67.49397278	11.53762054	3.2984091802
65652173.91	65.65217391	0.60	-79.35984802	-67.15480804	12.20503998	2.5845412515
65869565.22	65.86956522	0.60	-79.18432617	-67.34916687	11.8351593	2.9792178536
66086956.52	66.08695652	0.60	-79.15286255	-67.03608704	12.11677551	2.6785198027
66304347.83	66.30434783	0.60	-79.0293045	-67.09309387	11.93621063	2.871166959
66521739.13	66.52173913	0.60	-79.13122559	-67.23439026	11.89683533	2.9132489966
66739130.43	66.73913043	0.60	-79.12017059	-67.50349426	11.61667633	3.2134441409
66956521.74	66.95652174	0.60	-79.08193207	-67.24836731	11.83356476	2.9809242453
67173913.04	67.17391304	0.60	-79.20797729	-67.43186188	11.77611541	3.0424329418
67391304.35	67.39130435	0.60	-79.09812164	-66.92608643	12.17203521	2.6196682308
67608695.65	67.60869565	0.60	-79.04714203	-66.95309448	12.09404755	2.702739265
67826086.96	67.82608696	0.60	-78.97070313	-67.0630722	11.90763093	2.9017086736
68043478.26	68.04347826	0.60	-78.94190979	-67.05731964	11.88459015	2.9263412964
68260869.57	68.26086957	0.60	-78.77968597	-66.83488464	11.94480133	2.8619891937
68478260.87	68.47826087	0.60	-78.77368164	-67.4842453	11.28943634	3.5659152471
68695652.17	68.69565217	0.60	-78.84243011	-67.13837433	11.70405578	3.1196662802
68913043.48	68.91304348	0.60	-79.28479767	-67.1807785	12.10401917	2.692112242
69130434.78	69.13043478	0.60	-78.75176239	-67.21183777	11.53992462	3.2959312342
69347826.09	69.34782609	0.60	-79.46073914	-67.44765472	12.01308442	2.7890836639
69565217.39	69.56521739	0.60	-79.18202972	-67.21458435	11.96744537	2.8378036518
69782608.7	69.7826087	0.60	-78.89587402	-67.29167175	11.60420227	3.2268429466
70000000	70	0.60	-78.94976044	-67.17978668	11.76997376	3.0490119702
70217391.3	70.2173913	0.60	-79.07185364	-67.11811066	11.95374298	2.8524378115
70434782.61	70.43478261	0.60	-79.02064514	-67.20400238	11.81664276	2.9990359795
70652173.91	70.65217391	0.60	-78.98644257	-67.069664	11.91677857	2.8919315402
70869565.22	70.86956522	0.60	-79.19438934	-67.34355927	11.85083007	2.9624501661
71086956.52	71.08695652	0.60	-79.02487946	-67.64614105	11.37873841	3.4695232617
71304347.83	71.30434783	0.60	-79.07457733	-67.41386414	11.66071319	3.1661653879
71521739.13	71.52173913	0.60	-79.407547	-67.46102142	11.94652558	2.8601472625
71739130.43	71.73913043	0.60	-79.01918793	-67.19137573	11.8278122	2.9870806937
71956521.74	71.95652174	0.60	-78.96000671	-67.18809509	11.77191162	3.0469360337
72173913.04	72.17391304	0.60	-79.129776	-67.39780426	11.73197174	3.0897350959
72391304.35	72.39130435	0.60	-78.92238617	-67.37388611	11.54850006	3.2867095621
72608695.65	72.60869565	0.60	-79.00561523	-67.33982849	11.66578674	3.1607205967
72826086.96	72.82608696	0.60	-78.9497757	-67.26249695	11.68727875	3.1376611263
73043478.26	73.04347826	0.60	-79.1738205	-67.12319183	12.05062867	2.7490307037
73260869.57	73.26086957	0.60	-78.44042206	-67.29914856	11.1412735	3.7261942664
73478260.87	73.47826087	0.60	-79.07958984	-67.22680664	11.8527832	2.9603606181
73695652.17	73.69565217	0.60	-79.12098694	-67.53927612	11.58171082	3.2510089945
73913043.48	73.91304348	0.60	-79.12424469	-67.47440338	11.64984131	3.1778343531
74130434.78	74.13043478	0.60	-78.87285614	-67.23674011	11.63611603	3.1925689826
74347826.09	74.34782609	0.60	-79.10755157	-67.05005646	12.05749511	2.7417079446
74565217.39	74.56521739	0.60	-79.01502228	-66.90169525	12.11332703	2.6821940513
74782608.7	74.7826087	0.60	-79.04547882	-67.29373932	11.7517395	3.0685486965
75000000	75	0.60	-78.86376953	-67.1502533	11.71351623	3.1095213336
75217391.3	75.2173913	0.60	-78.6053009	-67.1403656	11.4649353	3.3766305116
75434782.61	75.43478261	0.60	-78.91437531	-67.45466614	11.45970917	3.3822585478
75652173.91	75.65217391	0.60	-78.68663025	-67.36720276	11.31942749	3.5335254519
75869565.22	75.86956522	0.60	-78.72756958	-67.11660767	11.61096191	3.2195818367
76086956.52	76.08695652	0.60	-78.77439117	-67.61186218	11.16252899	3.7031729829
76304347.83	76.30434783	0.60	-78.58712769	-67.27149963	11.31562806	3.5376277658
76521739.13	76.52173913	0.60	-78.18360901	-67.26042938	10.92317963	3.9629582251
76739130.43	76.73913043	0.60	-78.43397522	-66.98593903	11.44803619	3.3948311007
76956521.74	76.95652174	0.60	-77.86478424	-67.51128387	10.35350037	4.58651563
77173913.04	77.17391304	0.60	-77.10975647	-67.26319122	9.84656525	5.1483974559
77391304.35	77.39130435	0.60	-77.12510681	-67.20801544	9.91709137	5.0697940719
77608695.65	77.60869565	0.60	-76.34862518	-67.48756409	8.86106109	6.263672481
77826086.96	77.82608696	0.60	-75.14956665	-67.12281799	8.02674866	7.2376355814
78043478.26	78.04347826	0.60	-74.92321777	-67.38995361	7.53326416	7.829947377
78260869.57	78.26086957	0.60	-73.8638916	-67.17063904	6.69325256	8.8732327821
78478260.87	78.47826087	0.60	-74.06949615	-67.22810364	6.84139251	8.6855895783
78695652.17	78.69565217	0.60	-73.21327209	-67.20496368	6.00830841	9.7651838666
78913043.48	78.91304348	0.60	-73.58227539	-67.01502991	6.56724548	9.0342167757
79130434.78	79.13043478	0.60	-72.31248474	-67.60362244	4.7088623	11.6035643374
79347826.09	79.34782609	0.60	-71.68635559	-67.21433258	4.47202301	11.9665863293
79565217.39	79.56521739	0.60	-71.65218353	-67.23242188	4.41976165	12.0481511815
79782608.7	79.7826087	0.60	-71.6829071	-67.36155701	4.32135009	12.2032679931
80000000	80	0.60	-71.83171082	-67.30229187	4.52941895	11.8776334868
80217391.3	80.2173913	0.60	-71.30089569	-66.85900116	4.44189453	12.0135409372
80434782.61	80.43478261	0.60	-71.72058868	-67.36399841	4.35659027	12.1474889334
80652173.91	80.65217391	0.60	-73.34249115	-67.14056396	6.20192719	9.508662002
80869565.22	80.86956522	0.60	-72.65185547	-67.05727386	5.59458161	10.3266335578
81086956.52	81.08695652	0.60	-71.89955139	-67.23097992	4.66857147	11.6645859105
81304347.83	81.30434783	0.60	-70.57359314	-67.11741638	3.45617676	13.6697910123
81521739.13	81.52173913	0.60	-71.71578217	-67.23303223	4.48274994	11.9499123648
81739130.43	81.73913043	0.60	-73.09669495	-67.09736633	5.99932862	9.7771723925
81956521.74	81.95652174	0.60	-72.84135437	-66.8455658	5.99578857	9.7819008436
82173913.04	82.17391304	0.60	-73.08558655	-67.27075958	5.81482697	10.025376541
82391304.35	82.39130435	0.60	-72.72811127	-67.11763	5.61048127	10.3046950446
82608695.65	82.60869565	0.60	-72.91172791	-67.2447052	5.66702271	10.2269235832
82826086.96	82.82608696	0.60	-71.60424042	-67.26112366	4.34311676	12.1687840238
83043478.26	83.04347826	0.60	-72.66107941	-67.17750549	5.48357392	10.480666967
83260869.57	83.26086957	0.60	-73.69756317	-67.30062866	6.39693451	9.2539218417
83478260.87	83.47826087	0.60	-73.64346313	-67.22668457	6.41677856	9.2281929281
83695652.17	83.69565217	0.60	-73.16810608	-67.02869415	6.13941193	9.5910829255
83913043.48	83.91304348	0.60	-73.67553711	-67.23131561	6.4442215	9.1926688155
84130434.78	84.13043478	0.60	-74.00257111	-67.32875061	6.6738205	8.897974659
84347826.09	84.34782609	0.60	-74.16252136	-67.3419342	6.82058716	8.7118405431
84565217.39	84.56521739	0.60	-73.9910202	-66.92152405	7.06949615	8.3998819535
84782608.7	84.7826087	0.60	-74.4924469	-67.2603302	7.2321167	8.1984360649
85000000	85	0.60	-74.68875122	-66.88532257	7.80342865	7.5040138217
85217391.3	85.2173913	0.60	-74.98368835	-67.21469116	7.76899719	7.545322667
85434782.61	85.43478261	0.60	-75.84899902	-66.93331909	8.91567993	6.2009519347
85652173.91	85.65217391	0.60	-75.4914856	-67.32209778	8.16938782	7.0688398145
85869565.22	85.86956522	0.60	-75.91473389	-67.14967346	8.76506043	6.3742001595
86086956.52	86.08695652	0.60	-75.79657745	-66.98880768	8.80776977	6.3249822778
86304347.83	86.30434783	0.60	-75.83229065	-67.6025238	8.22976685	6.9976907759
86521739.13	86.52173913	0.60	-75.47445679	-67.26142883	8.21302796	7.0173977852
86739130.43	86.73913043	0.60	-76.6415863	-67.22913361	9.41245269	5.6355960292
86956521.74	86.95652174	0.60	-76.97514343	-67.27033997	9.70480346	5.3068447878
87173913.04	87.17391304	0.60	-77.3130722	-67.26866913	10.04440307	4.9282660686
87391304.35	87.39130435	0.60	-76.93946838	-67.13179016	9.80767822	5.1918011328
87608695.65	87.60869565	0.60	-77.74599457	-67.40303802	10.34295655	4.598131538
87826086.96	87.82608696	0.60	-77.64045715	-67.54755402	10.09290313	4.874470821
88043478.26	88.04347826	0.60	-77.18733215	-66.98747253	10.19985962	4.7560659301
88260869.57	88.26086957	0.60	-77.63438416	-67.25521851	10.37916565	4.5582526736
88478260.87	88.47826087	0.60	-77.7878952	-67.44530487	10.34259033	4.5985350465
88695652.17	88.69565217	0.60	-77.58161926	-67.38326263	10.19835663	4.7577276453
88913043.48	88.91304348	0.60	-78.1467514	-67.23750305	10.90924835	3.9781170715
89130434.78	89.13043478	0.60	-77.36689758	-67.20688629	10.16001129	4.8001431082
89347826.09	89.34782609	0.60	-77.93365479	-67.52664948	10.40700531	4.5276143028
89565217.39	89.56521739	0.60	-77.87859344	-67.38044739	10.49814605	4.4274480153
89782608.7	89.7826087	0.60	-77.90585327	-67.12821198	10.77764129	4.121534903
90000000	90	0.60	-77.69766998	-67.31840515	10.37926483	4.5581434879
90217391.3	90.2173913	0.60	-78.1335144	-67.46735382	10.66616058	4.2433302704
90434782.61	90.43478261	0.60	-78.60271454	-67.25799561	11.34471893	3.5062250963
90652173.91	90.65217391	0.60	-78.47239685	-67.4050827	11.06731415	3.8063712707
90869565.22	90.86956522	0.60	-78.88389587	-67.661026	11.22286987	3.6378699829
91086956.52	91.08695652	0.60	-78.94974518	-67.40663147	11.54311371	3.292501659
91304347.83	91.30434783	0.60	-79.17576599	-67.38905334	11.78671265	3.0310825741
91521739.13	91.52173913	0.60	-78.90142822	-67.64031982	11.2611084	3.5965253035
91739130.43	91.73913043	0.60	-78.39868927	-67.40558624	10.99310303	3.8869377437
91956521.74	91.95652174	0.60	-77.79045868	-67.38954163	10.40091705	4.5343129278
92173913.04	92.17391304	0.60	-77.28855133	-67.15190887	10.13664246	4.8260119683
92391304.35	92.39130435	0.60	-77.37911224	-67.35873413	10.02037811	4.9549384523
92608695.65	92.60869565	0.60	-77.76383972	-67.43934631	10.32449341	4.6184789188
92826086.96	92.82608696	0.60	-78.52861786	-67.40393066	11.1246872	3.744164986
93043478.26	93.04347826	0.60	-78.83759308	-66.83376312	12.00382996	2.7989600709
93260869.57	93.26086957	0.60	-78.79039764	-67.13340759	11.65699005	3.1701612534
93478260.87	93.47826087	0.60	-78.91112518	-67.59422302	11.31690216	3.5362520649
93695652.17	93.69565217	0.60	-78.88729095	-67.03617096	11.85111999	2.9621399922
93913043.48	93.91304348	0.60	-78.63346863	-67.41474915	11.21871948	3.6423592954
94130434.78	94.13043478	0.60	-78.42045593	-67.17327881	11.24717712	3.6115848111
94347826.09	94.34782609	0.60	-77.53198242	-66.99552917	10.53645325	4.3854089612
94565217.39	94.56521739	0.60	-76.28250885	-66.75743103	9.52507782	5.5086206939
94782608.7	94.7826087	0.60	-76.14181519	-66.88911438	9.25270081	5.8164376732
95000000	95	0.60	-76.2352066	-67.02787781	9.20732879	5.8679616039
95217391.3	95.2173913	0.60	-76.545578	-67.20239258	9.34318542	5.7138999478
95434782.61	95.43478261	0.60	-77.56732178	-67.17549133	10.39183045	4.5443122377
95652173.91	95.65217391	0.60	-78.06837463	-67.51125336	10.55712127	4.3627424288
95869565.22	95.86956522	0.60	-78.49412537	-67.50124359	10.99288178	3.8871781182
96086956.52	96.08695652	0.60	-78.65823364	-67.47283173	11.18540191	3.6784103263
96304347.83	96.30434783	0.60	-78.975914	-67.6791153	11.2967987	3.5579623992
96521739.13	96.52173913	0.60	-78.7858963	-67.43161774	11.35427856	3.4959094209
96739130.43	96.73913043	0.60	-79.00058746	-67.62464905	11.37593841	3.47254318
96956521.74	96.95652174	0.60	-78.92151642	-67.24044037	11.68107605	3.1443153491
97173913.04	97.17391304	0.60	-79.14622498	-67.1872406	11.95898438	2.8468396227
97391304.35	97.39130435	0.60	-78.58892822	-67.60081482	10.9881134	3.8923589258
97608695.65	97.60869565	0.60	-78.47660828	-67.75641632	10.72019196	4.1842635535
97826086.96	97.82608696	0.60	-78.81784058	-67.46346283	11.35437775	3.4958023956
98043478.26	98.04347826	0.60	-78.68379974	-67.41679382	11.26700592	3.5901513489
98260869.57	98.26086957	0.60	-78.65409088	-67.30984497	11.34424591	3.5067355728
98478260.87	98.47826087	0.60	-78.22492981	-67.33563232	10.88929749	3.9998333981
98695652.17	98.69565217	0.60	-78.09799957	-67.39733124	10.70066833	4.2055987491
98913043.48	98.91304348	0.60	-77.65822601	-67.2767334	10.38149261	4.5556910281
99130434.78	99.13043478	0.60	-78.324646	-67.67199707	10.65264893	4.258111853
99347826.09	99.34782609	0.60	-78.40092468	-67.04612732	11.35479736	3.4953496417
99565217.39	99.56521739	0.60	-78.42566681	-67.54666138	10.87900543	4.0110396683
99782608.7	99.7826087	0.60	-78.61784363	-67.63548279	10.98236084	3.8986096926
100000000	100	0.60	-78.7922821	-67.63426971	11.15801239	3.7080640153
Noise Figure Measurement
With and Withut Output Protection Diodes
Frequency [MHz]
Noise Figure [dB]

## OFF
Machine Module	N9343C	CN0605A298
MCU Version	A.06.27
DSP Version	A.05.02.02 SA
FPGA Version	A.02.80
03:33:46 07.26.2020
Y Axis Scale	LOG
Y Axis Unit	dBm
Impedance	50
Number of Points	461
Sweep Time(s)	1.0051	MAN
Start Frequency	0
Stop Frequency	100000000
Frequency Offset	0
Average Type	Log Pwr
RBW	1000000	MAN
VBW	1000000	AUTO
Sweep Type	Continuous
Sweep Mode	Sweep
Speed	Fast
PreAmp State	OFF
Ref Level	-50
Attenuation	0	MAN
Ref Level Offset	0
X Axis Units	Hz
HiSensitive	OFF
Trigger Source	FreeRun
Trigger Level	0
Trigger Slope	RISE
Trigger Delay	0	OFF
Gate Sweep	OFF
Gate View	OFF
Gate Delay	0.00228
Gate Length	0.00084
Gate Source	External
Burst Level	-20
Burst Trigger Slope	Rise
Timer Period	0.00312
Timer Offset	0
Sync Source	Off
Apply Corrections	OFF
Antenna Unit	OFF
Correction1	Off
Correction2	Off
Correction3	Off
Correction4	Off
Marker Information
Marker	Trace	Type	X Axis	Amplitude
M1	1	Frequency	5.00 MHz	-74.59 dBm
M2	1	Frequency	10.00 MHz	-75.33 dBm
M3	1	Frequency	20.00 MHz	-77.76 dBm
M4	1	Frequency	30.00 MHz	-78.61 dBm
M5	1	Frequency	40.00 MHz	-78.72 dBm
M6	1	Frequency	50.00 MHz	-78.67 dBm
CISPR Filter	Normal RBW	Dwell Time(s)	0.5	AUTO
Trace Math	Off
Trace Math By	Log Power
Trace Variable A	Trace1
Trace Variable B	Trace2
Trace Variable C	Trace3
Trace Name	Trace1
Trace Count	20
Trace Type	Clear Write
Trace Detector	Pos Peak
Trace Data
0	-9.54899025
217391.3043	-24.94914627
434782.6087	-26.91415977
652173.913	-29.46033859
869565.2174	-32.56246185
1086956.522	-37.2124176
1304347.826	-41.8079071
1521739.13	-48.1567955
1739130.435	-55.24001312
1956521.739	-61.47556305
2173913.043	-66.30780029
2391304.348	-68.95461273
2608695.652	-70.4659729
2826086.957	-71.70633698
3043478.261	-72.32197571
3260869.565	-72.69103241
3478260.87	-72.83088684
3695652.174	-73.96549988
3913043.478	-73.53160095
4130434.783	-74.20468903
4347826.087	-74.35300446
4565217.391	-74.29949188
4782608.696	-74.54064941
5000000	-74.59401703
5217391.304	-74.14774323
5434782.609	-74.45963287
5652173.913	-74.80805969
5869565.217	-74.534935
6086956.522	-74.74878693
6304347.826	-74.51276398
6521739.13	-74.52786255
6739130.435	-74.68737793
6956521.739	-74.56982422
7173913.043	-75.03321838
7391304.348	-74.65328979
7608695.652	-75.0739212
7826086.957	-74.9491806
8043478.261	-74.85164642
8260869.565	-74.73872375
8478260.87	-74.96685028
8695652.174	-74.86399078
8913043.478	-74.75965118
9130434.783	-75.25319672
9347826.087	-75.38775635
9565217.391	-75.19943237
9782608.696	-75.74420166
10000000	-75.32795715
10217391.3	-76.56532288
10434782.61	-76.55113983
10652173.91	-76.4702301
10869565.22	-76.97750092
11086956.52	-76.78096771
11304347.83	-76.84364319
11521739.13	-76.69599915
11739130.43	-76.98752594
11956521.74	-76.89480591
12173913.04	-76.94660187
12391304.35	-77.2284317
12608695.65	-77.20832825
12826086.96	-77.11659241
13043478.26	-77.04314423
13260869.57	-76.89573669
13478260.87	-76.90852356
13695652.17	-77.05066681
13913043.48	-77.07762909
14130434.78	-77.10843658
14347826.09	-77.2257309
14565217.39	-77.35496521
14782608.7	-77.39427185
15000000	-77.22029114
15217391.3	-77.16282654
15434782.61	-77.56842804
15652173.91	-77.5788269
15869565.22	-77.38514709
16086956.52	-77.65159607
16304347.83	-77.81615448
16521739.13	-77.75032806
16739130.43	-77.86872864
16956521.74	-77.56952667
17173913.04	-77.71066284
17391304.35	-77.62821198
17608695.65	-77.63850403
17826086.96	-77.85438538
18043478.26	-78.25935364
18260869.57	-77.56855011
18478260.87	-77.98587799
18695652.17	-78.16062164
18913043.48	-77.97393799
19130434.78	-78.00693512
19347826.09	-77.88309479
19565217.39	-78.09677887
19782608.7	-78.30631256
20000000	-77.75535583
20217391.3	-77.99720764
20434782.61	-78.1827774
20652173.91	-78.07286835
20869565.22	-78.08405304
21086956.52	-77.99714661
21304347.83	-77.84609222
21521739.13	-78.17076111
21739130.43	-78.15551758
21956521.74	-78.298172
22173913.04	-78.14736176
22391304.35	-77.94135284
22608695.65	-78.30283356
22826086.96	-78.47504425
23043478.26	-78.51604462
23260869.57	-78.28145599
23478260.87	-78.34938049
23695652.17	-78.57229614
23913043.48	-78.63018799
24130434.78	-78.24105072
24347826.09	-78.37250519
24565217.39	-78.36398315
24782608.7	-78.1802063
25000000	-78.53676605
25217391.3	-78.42024231
25434782.61	-78.5608139
25652173.91	-78.24311829
25869565.22	-78.66204071
26086956.52	-78.62534332
26304347.83	-78.19421387
26521739.13	-77.91481018
26739130.43	-78.40096283
26956521.74	-78.18815613
27173913.04	-78.1285553
27391304.35	-77.80274963
27608695.65	-78.06587219
27826086.96	-77.44989014
28043478.26	-78.11574554
28260869.57	-78.37956238
28478260.87	-78.46944427
28695652.17	-78.44753265
28913043.48	-78.48365021
29130434.78	-78.60284424
29347826.09	-78.35287476
29565217.39	-78.66352081
29782608.7	-78.44224548
30000000	-78.61341858
30217391.3	-78.86814117
30434782.61	-78.40711975
30652173.91	-78.54485321
30869565.22	-78.8866272
31086956.52	-79.08280945
31304347.83	-78.61366272
31521739.13	-78.71907043
31739130.43	-78.67454529
31956521.74	-78.93816376
32173913.04	-78.83670807
32391304.35	-78.61413574
32608695.65	-78.72581482
32826086.96	-78.73363495
33043478.26	-78.97394562
33260869.57	-78.63353729
33478260.87	-78.51970673
33695652.17	-79.11206818
33913043.48	-78.57315826
34130434.78	-78.49195099
34347826.09	-78.75276947
34565217.39	-78.03063202
34782608.7	-78.27902222
35000000	-78.07861328
35217391.3	-77.93622589
35434782.61	-78.2271347
35652173.91	-78.15772247
35869565.22	-78.02901459
36086956.52	-77.8790741
36304347.83	-77.80606842
36521739.13	-77.96614075
36739130.43	-78.46665955
36956521.74	-77.84603119
37173913.04	-78.10546875
37391304.35	-78.05706024
37608695.65	-78.48350525
37826086.96	-77.99014282
38043478.26	-78.21075439
38260869.57	-78.51809692
38478260.87	-78.46726227
38695652.17	-78.35087585
38913043.48	-78.32549286
39130434.78	-78.48512268
39347826.09	-78.78526306
39565217.39	-78.49125671
39782608.7	-78.38101959
40000000	-78.71763611
40217391.3	-78.61490631
40434782.61	-78.89230347
40652173.91	-79.07920837
40869565.22	-78.9091568
41086956.52	-78.78022766
41304347.83	-78.77134705
41521739.13	-78.92756653
41739130.43	-79.35011292
41956521.74	-78.8776474
42173913.04	-78.92105865
42391304.35	-78.93534088
42608695.65	-78.47625732
42826086.96	-78.59760284
43043478.26	-78.92640686
43260869.57	-78.92552185
43478260.87	-78.69474792
43695652.17	-78.77249146
43913043.48	-78.63050842
44130434.78	-79.00956726
44347826.09	-78.90557861
44565217.39	-79.0945282
44782608.7	-78.90581512
45000000	-78.83765411
45217391.3	-78.97898102
45434782.61	-79.20102692
45652173.91	-78.5772171
45869565.22	-79.13855743
46086956.52	-79.17417908
46304347.83	-78.73735809
46521739.13	-78.73238373
46739130.43	-78.97074127
46956521.74	-78.95336914
47173913.04	-79.04618835
47391304.35	-78.46980286
47608695.65	-78.84975433
47826086.96	-78.75821686
48043478.26	-78.71411896
48260869.57	-78.93797302
48478260.87	-78.77058411
48695652.17	-78.82217407
48913043.48	-78.53495789
49130434.78	-78.68894958
49347826.09	-78.54256439
49565217.39	-78.80709839
49782608.7	-78.97662354
50000000	-78.66734314
50217391.3	-78.65096283
50434782.61	-78.81198883
50652173.91	-78.8469696
50869565.22	-79.03037262
51086956.52	-79.14512634
51304347.83	-79.10823822
51521739.13	-78.92762756
51739130.43	-79.46492004
51956521.74	-79.00535583
52173913.04	-79.07551575
52391304.35	-78.83728027
52608695.65	-78.81416321
52826086.96	-79.06746674
53043478.26	-79.11331177
53260869.57	-78.89927673
53478260.87	-79.03755951
53695652.17	-78.83644867
53913043.48	-79.0324707
54130434.78	-78.78131104
54347826.09	-78.3764801
54565217.39	-78.68939209
54782608.7	-78.91030121
55000000	-78.22267151
55217391.3	-78.49732208
55434782.61	-78.22938538
55652173.91	-78.55000305
55869565.22	-78.76661682
56086956.52	-78.78348541
56304347.83	-79.01625061
56521739.13	-78.7544632
56739130.43	-78.52835846
56956521.74	-78.51618958
57173913.04	-78.73816681
57391304.35	-78.79414368
57608695.65	-79.41728973
57826086.96	-79.10570526
58043478.26	-79.20488739
58260869.57	-79.30323029
58478260.87	-79.49781799
58695652.17	-79.17787933
58913043.48	-79.29933167
59130434.78	-79.04324341
59347826.09	-79.02812195
59565217.39	-79.03833008
59782608.7	-79.36252594
60000000	-79.10300446
60217391.3	-79.32743073
60434782.61	-79.16904449
60652173.91	-78.99226379
60869565.22	-78.99714661
61086956.52	-78.89489746
61304347.83	-79.48471832
61521739.13	-79.28331757
61739130.43	-79.15624237
61956521.74	-78.90621948
62173913.04	-78.95201111
62391304.35	-79.20165253
62608695.65	-79.30366516
62826086.96	-79.15879822
63043478.26	-79.2661972
63260869.57	-79.3677063
63478260.87	-79.05979156
63695652.17	-79.11891174
63913043.48	-79.31778717
64130434.78	-79.07095337
64347826.09	-79.42250824
64565217.39	-79.2241745
64782608.7	-79.14207458
65000000	-79.25627899
65217391.3	-78.8815155
65434782.61	-79.03159332
65652173.91	-79.35984802
65869565.22	-79.18432617
66086956.52	-79.15286255
66304347.83	-79.0293045
66521739.13	-79.13122559
66739130.43	-79.12017059
66956521.74	-79.08193207
67173913.04	-79.20797729
67391304.35	-79.09812164
67608695.65	-79.04714203
67826086.96	-78.97070313
68043478.26	-78.94190979
68260869.57	-78.77968597
68478260.87	-78.77368164
68695652.17	-78.84243011
68913043.48	-79.28479767
69130434.78	-78.75176239
69347826.09	-79.46073914
69565217.39	-79.18202972
69782608.7	-78.89587402
70000000	-78.94976044
70217391.3	-79.07185364
70434782.61	-79.02064514
70652173.91	-78.98644257
70869565.22	-79.19438934
71086956.52	-79.02487946
71304347.83	-79.07457733
71521739.13	-79.407547
71739130.43	-79.01918793
71956521.74	-78.96000671
72173913.04	-79.129776
72391304.35	-78.92238617
72608695.65	-79.00561523
72826086.96	-78.9497757
73043478.26	-79.1738205
73260869.57	-78.44042206
73478260.87	-79.07958984
73695652.17	-79.12098694
73913043.48	-79.12424469
74130434.78	-78.87285614
74347826.09	-79.10755157
74565217.39	-79.01502228
74782608.7	-79.04547882
75000000	-78.86376953
75217391.3	-78.6053009
75434782.61	-78.91437531
75652173.91	-78.68663025
75869565.22	-78.72756958
76086956.52	-78.77439117
76304347.83	-78.58712769
76521739.13	-78.18360901
76739130.43	-78.43397522
76956521.74	-77.86478424
77173913.04	-77.10975647
77391304.35	-77.12510681
77608695.65	-76.34862518
77826086.96	-75.14956665
78043478.26	-74.92321777
78260869.57	-73.8638916
78478260.87	-74.06949615
78695652.17	-73.21327209
78913043.48	-73.58227539
79130434.78	-72.31248474
79347826.09	-71.68635559
79565217.39	-71.65218353
79782608.7	-71.6829071
80000000	-71.83171082
80217391.3	-71.30089569
80434782.61	-71.72058868
80652173.91	-73.34249115
80869565.22	-72.65185547
81086956.52	-71.89955139
81304347.83	-70.57359314
81521739.13	-71.71578217
81739130.43	-73.09669495
81956521.74	-72.84135437
82173913.04	-73.08558655
82391304.35	-72.72811127
82608695.65	-72.91172791
82826086.96	-71.60424042
83043478.26	-72.66107941
83260869.57	-73.69756317
83478260.87	-73.64346313
83695652.17	-73.16810608
83913043.48	-73.67553711
84130434.78	-74.00257111
84347826.09	-74.16252136
84565217.39	-73.9910202
84782608.7	-74.4924469
85000000	-74.68875122
85217391.3	-74.98368835
85434782.61	-75.84899902
85652173.91	-75.4914856
85869565.22	-75.91473389
86086956.52	-75.79657745
86304347.83	-75.83229065
86521739.13	-75.47445679
86739130.43	-76.6415863
86956521.74	-76.97514343
87173913.04	-77.3130722
87391304.35	-76.93946838
87608695.65	-77.74599457
87826086.96	-77.64045715
88043478.26	-77.18733215
88260869.57	-77.63438416
88478260.87	-77.7878952
88695652.17	-77.58161926
88913043.48	-78.1467514
89130434.78	-77.36689758
89347826.09	-77.93365479
89565217.39	-77.87859344
89782608.7	-77.90585327
90000000	-77.69766998
90217391.3	-78.1335144
90434782.61	-78.60271454
90652173.91	-78.47239685
90869565.22	-78.88389587
91086956.52	-78.94974518
91304347.83	-79.17576599
91521739.13	-78.90142822
91739130.43	-78.39868927
91956521.74	-77.79045868
92173913.04	-77.28855133
92391304.35	-77.37911224
92608695.65	-77.76383972
92826086.96	-78.52861786
93043478.26	-78.83759308
93260869.57	-78.79039764
93478260.87	-78.91112518
93695652.17	-78.88729095
93913043.48	-78.63346863
94130434.78	-78.42045593
94347826.09	-77.53198242
94565217.39	-76.28250885
94782608.7	-76.14181519
95000000	-76.2352066
95217391.3	-76.545578
95434782.61	-77.56732178
95652173.91	-78.06837463
95869565.22	-78.49412537
96086956.52	-78.65823364
96304347.83	-78.975914
96521739.13	-78.7858963
96739130.43	-79.00058746
96956521.74	-78.92151642
97173913.04	-79.14622498
97391304.35	-78.58892822
97608695.65	-78.47660828
97826086.96	-78.81784058
98043478.26	-78.68379974
98260869.57	-78.65409088
98478260.87	-78.22492981
98695652.17	-78.09799957
98913043.48	-77.65822601
99130434.78	-78.324646
99347826.09	-78.40092468
99565217.39	-78.42566681
99782608.7	-78.61784363
100000000	-78.7922821

## ON
Machine Module	N9343C	CN0605A298
MCU Version	A.06.27
DSP Version	A.05.02.02 SA
FPGA Version	A.02.80
03:34:48 07.26.2020
Y Axis Scale	LOG
Y Axis Unit	dBm
Impedance	50
Number of Points	461
Sweep Time(s)	1.0051	MAN
Start Frequency	0
Stop Frequency	100000000
Frequency Offset	0
Average Type	Log Pwr
RBW	1000000	MAN
VBW	1000000	AUTO
Sweep Type	Continuous
Sweep Mode	Sweep
Speed	Fast
PreAmp State	OFF
Ref Level	-50
Attenuation	0	MAN
Ref Level Offset	0
X Axis Units	Hz
HiSensitive	OFF
Trigger Source	FreeRun
Trigger Level	0
Trigger Slope	RISE
Trigger Delay	0	OFF
Gate Sweep	OFF
Gate View	OFF
Gate Delay	0.00228
Gate Length	0.00084
Gate Source	External
Burst Level	-20
Burst Trigger Slope	Rise
Timer Period	0.00312
Timer Offset	0
Sync Source	Off
Apply Corrections	OFF
Antenna Unit	OFF
Correction1	Off
Correction2	Off
Correction3	Off
Correction4	Off
Marker Information
Marker	Trace	Type	X Axis	Amplitude
M1	1	Frequency	5.00 MHz	-63.29 dBm
M2	1	Frequency	10.00 MHz	-63.77 dBm
M3	1	Frequency	20.00 MHz	-65.60 dBm
M4	1	Frequency	30.00 MHz	-66.75 dBm
M5	1	Frequency	40.00 MHz	-67.08 dBm
M6	1	Frequency	50.00 MHz	-67.27 dBm
CISPR Filter	Normal RBW	Dwell Time(s)	0.5	AUTO
Trace Math	Off
Trace Math By	Log Power
Trace Variable A	Trace1
Trace Variable B	Trace2
Trace Variable C	Trace3
Trace Name	Trace1
Trace Count	20
Trace Type	Clear Write
Trace Detector	Pos Peak
Trace Data
0	-9.845495224
217391.3043	-25.06518364
434782.6087	-27.12804222
652173.913	-29.37603188
869565.2174	-32.74819183
1086956.522	-36.85454559
1304347.826	-42.00959015
1521739.13	-48.1003685
1739130.435	-54.68324661
1956521.739	-59.91482544
2173913.043	-62.43424606
2391304.348	-63.38838577
2608695.652	-63.4419136
2826086.957	-63.35597992
3043478.261	-63.03984451
3260869.565	-63.22423172
3478260.87	-63.23137283
3695652.174	-63.35509491
3913043.478	-63.2428894
4130434.783	-63.5231514
4347826.087	-63.4490242
4565217.391	-63.3620224
4782608.696	-63.34272003
5000000	-63.28521729
5217391.304	-63.36400223
5434782.609	-63.47591019
5652173.913	-63.33795166
5869565.217	-63.35605621
6086956.522	-62.9348526
6304347.826	-63.48979568
6521739.13	-63.43122101
6739130.435	-63.24826813
6956521.739	-63.53461838
7173913.043	-63.52394867
7391304.348	-63.39826584
7608695.652	-63.47810745
7826086.957	-63.36922073
8043478.261	-63.73233032
8260869.565	-63.73381424
8478260.87	-63.7345047
8695652.174	-63.79221344
8913043.478	-63.78843307
9130434.783	-63.50579834
9347826.087	-63.76276398
9565217.391	-64.06635284
9782608.696	-63.93551636
10000000	-63.76541901
10217391.3	-64.19493866
10434782.61	-64.21064758
10652173.91	-64.11586761
10869565.22	-64.27188873
11086956.52	-64.28871155
11304347.83	-64.29612732
11521739.13	-64.19242859
11739130.43	-64.32205963
11956521.74	-64.10197449
12173913.04	-64.31993103
12391304.35	-64.34104919
12608695.65	-64.17693329
12826086.96	-64.65438843
13043478.26	-64.21204376
13260869.57	-64.69147491
13478260.87	-64.06430817
13695652.17	-64.60560608
13913043.48	-64.91722107
14130434.78	-64.67526245
14347826.09	-64.90309906
14565217.39	-64.45183563
14782608.7	-64.76845551
15000000	-65.13426208
15217391.3	-64.65061951
15434782.61	-64.94282532
15652173.91	-64.8503418
15869565.22	-65.30078125
16086956.52	-65.28037262
16304347.83	-65.00614166
16521739.13	-65.02968597
16739130.43	-64.40567017
16956521.74	-64.85667419
17173913.04	-65.45557404
17391304.35	-65.20677185
17608695.65	-65.22363281
17826086.96	-65.22496033
18043478.26	-65.39225769
18260869.57	-65.49855042
18478260.87	-65.68551636
18695652.17	-65.14342499
18913043.48	-65.32246399
19130434.78	-65.55330658
19347826.09	-65.52861023
19565217.39	-65.56215668
19782608.7	-65.83811188
20000000	-65.59509277
20217391.3	-65.51499939
20434782.61	-65.41235352
20652173.91	-65.46208191
20869565.22	-65.61118317
21086956.52	-65.71412659
21304347.83	-65.41144562
21521739.13	-65.45100403
21739130.43	-65.87503815
21956521.74	-65.76066589
22173913.04	-65.50006866
22391304.35	-65.42559052
22608695.65	-65.88945007
22826086.96	-65.77603149
23043478.26	-65.67669678
23260869.57	-65.79103851
23478260.87	-65.96498108
23695652.17	-65.76455688
23913043.48	-65.70027924
24130434.78	-65.90730286
24347826.09	-66.12522888
24565217.39	-66.26197052
24782608.7	-66.06532288
25000000	-66.24653625
25217391.3	-65.92622375
25434782.61	-66.00288391
25652173.91	-66.03842926
25869565.22	-66.2073822
26086956.52	-66.38607788
26304347.83	-66.30539703
26521739.13	-66.07356262
26739130.43	-66.19848633
26956521.74	-65.72183228
27173913.04	-66.28623199
27391304.35	-66.01473999
27608695.65	-66.48981476
27826086.96	-66.23976135
28043478.26	-65.83197784
28260869.57	-66.35977936
28478260.87	-66.19267273
28695652.17	-66.41236877
28913043.48	-66.15473938
29130434.78	-66.28590393
29347826.09	-66.61265564
29565217.39	-66.18141174
29782608.7	-66.49058533
30000000	-66.75209045
30217391.3	-66.37861633
30434782.61	-66.52503967
30652173.91	-66.51228333
30869565.22	-66.65511322
31086956.52	-66.72652435
31304347.83	-66.50965881
31521739.13	-66.71929932
31739130.43	-66.37837219
31956521.74	-66.06581116
32173913.04	-66.53588104
32391304.35	-66.49754333
32608695.65	-66.64421082
32826086.96	-66.59857178
33043478.26	-66.71282196
33260869.57	-67.05179596
33478260.87	-66.65854645
33695652.17	-66.68180847
33913043.48	-66.50458527
34130434.78	-66.87486267
34347826.09	-66.34727478
34565217.39	-66.91600037
34782608.7	-66.72566986
35000000	-66.66804504
35217391.3	-66.73422241
35434782.61	-66.85020447
35652173.91	-66.80067444
35869565.22	-66.73435974
36086956.52	-66.66287994
36304347.83	-66.65653992
36521739.13	-66.7858429
36739130.43	-66.56049347
36956521.74	-66.90570068
37173913.04	-66.70600891
37391304.35	-66.73812103
37608695.65	-67.10624695
37826086.96	-66.63544464
38043478.26	-66.66904449
38260869.57	-66.5865097
38478260.87	-66.90974426
38695652.17	-66.63589478
38913043.48	-66.92914581
39130434.78	-66.91152191
39347826.09	-66.833992
39565217.39	-66.76850891
39782608.7	-66.79602051
40000000	-67.08129883
40217391.3	-66.97550964
40434782.61	-67.09062195
40652173.91	-66.70241547
40869565.22	-66.93312073
41086956.52	-67.1574707
41304347.83	-66.6421051
41521739.13	-66.71357727
41739130.43	-67.17650604
41956521.74	-67.04518127
42173913.04	-66.63111115
42391304.35	-67.01735687
42608695.65	-66.96669006
42826086.96	-66.93888855
43043478.26	-66.79605865
43260869.57	-66.91501617
43478260.87	-67.03999329
43695652.17	-66.92689514
43913043.48	-66.89582825
44130434.78	-67.24662781
44347826.09	-67.2838974
44565217.39	-67.19043732
44782608.7	-67.04768372
45000000	-66.93654633
45217391.3	-66.97428894
45434782.61	-66.83817291
45652173.91	-67.36190796
45869565.22	-67.420784
46086956.52	-67.50746155
46304347.83	-67.34363556
46521739.13	-67.0390625
46739130.43	-67.20204163
46956521.74	-67.13310242
47173913.04	-66.91176605
47391304.35	-66.97108459
47608695.65	-67.24324799
47826086.96	-66.88536835
48043478.26	-67.16923523
48260869.57	-67.01125336
48478260.87	-66.53292847
48695652.17	-67.22418976
48913043.48	-67.18722534
49130434.78	-66.97276306
49347826.09	-67.16088104
49565217.39	-66.74643707
49782608.7	-66.8995285
50000000	-67.27033997
50217391.3	-67.43159485
50434782.61	-67.20574951
50652173.91	-67.06782532
50869565.22	-67.33900452
51086956.52	-67.00310516
51304347.83	-67.31440735
51521739.13	-67.32634735
51739130.43	-67.28858948
51956521.74	-67.22447205
52173913.04	-66.95238495
52391304.35	-67.28999329
52608695.65	-67.13969421
52826086.96	-67.53401184
53043478.26	-67.23597717
53260869.57	-66.9450531
53478260.87	-67.5695343
53695652.17	-67.23845673
53913043.48	-67.33877563
54130434.78	-67.25582123
54347826.09	-67.31533051
54565217.39	-67.00379944
54782608.7	-67.28143311
55000000	-67.07133484
55217391.3	-67.07858276
55434782.61	-67.11207581
55652173.91	-67.62644958
55869565.22	-67.08821869
56086956.52	-67.61160278
56304347.83	-67.16773987
56521739.13	-66.94075012
56739130.43	-67.14848328
56956521.74	-66.95567322
57173913.04	-67.17656708
57391304.35	-67.35951233
57608695.65	-67.03927612
57826086.96	-67.01835632
58043478.26	-67.36506653
58260869.57	-67.1625061
58478260.87	-67.1807251
58695652.17	-67.10417175
58913043.48	-67.20243073
59130434.78	-66.95095062
59347826.09	-67.19164276
59565217.39	-67.20074463
59782608.7	-67.59214783
60000000	-67.53862
60217391.3	-67.16822815
60434782.61	-67.16617584
60652173.91	-67.28827667
60869565.22	-67.31775665
61086956.52	-67.04270172
61304347.83	-67.45935059
61521739.13	-67.24208069
61739130.43	-67.01834869
61956521.74	-67.02040863
62173913.04	-67.26727295
62391304.35	-67.35600281
62608695.65	-67.01262665
62826086.96	-67.07756042
63043478.26	-67.26441193
63260869.57	-67.16696167
63478260.87	-67.05348969
63695652.17	-67.23161316
63913043.48	-67.18516541
64130434.78	-67.17961121
64347826.09	-67.39029694
64565217.39	-67.06778717
64782608.7	-67.27774811
65000000	-67.14915466
65217391.3	-67.30116272
65434782.61	-67.49397278
65652173.91	-67.15480804
65869565.22	-67.34916687
66086956.52	-67.03608704
66304347.83	-67.09309387
66521739.13	-67.23439026
66739130.43	-67.50349426
66956521.74	-67.24836731
67173913.04	-67.43186188
67391304.35	-66.92608643
67608695.65	-66.95309448
67826086.96	-67.0630722
68043478.26	-67.05731964
68260869.57	-66.83488464
68478260.87	-67.4842453
68695652.17	-67.13837433
68913043.48	-67.1807785
69130434.78	-67.21183777
69347826.09	-67.44765472
69565217.39	-67.21458435
69782608.7	-67.29167175
70000000	-67.17978668
70217391.3	-67.11811066
70434782.61	-67.20400238
70652173.91	-67.069664
70869565.22	-67.34355927
71086956.52	-67.64614105
71304347.83	-67.41386414
71521739.13	-67.46102142
71739130.43	-67.19137573
71956521.74	-67.18809509
72173913.04	-67.39780426
72391304.35	-67.37388611
72608695.65	-67.33982849
72826086.96	-67.26249695
73043478.26	-67.12319183
73260869.57	-67.29914856
73478260.87	-67.22680664
73695652.17	-67.53927612
73913043.48	-67.47440338
74130434.78	-67.23674011
74347826.09	-67.05005646
74565217.39	-66.90169525
74782608.7	-67.29373932
75000000	-67.1502533
75217391.3	-67.1403656
75434782.61	-67.45466614
75652173.91	-67.36720276
75869565.22	-67.11660767
76086956.52	-67.61186218
76304347.83	-67.27149963
76521739.13	-67.26042938
76739130.43	-66.98593903
76956521.74	-67.51128387
77173913.04	-67.26319122
77391304.35	-67.20801544
77608695.65	-67.48756409
77826086.96	-67.12281799
78043478.26	-67.38995361
78260869.57	-67.17063904
78478260.87	-67.22810364
78695652.17	-67.20496368
78913043.48	-67.01502991
79130434.78	-67.60362244
79347826.09	-67.21433258
79565217.39	-67.23242188
79782608.7	-67.36155701
80000000	-67.30229187
80217391.3	-66.85900116
80434782.61	-67.36399841
80652173.91	-67.14056396
80869565.22	-67.05727386
81086956.52	-67.23097992
81304347.83	-67.11741638
81521739.13	-67.23303223
81739130.43	-67.09736633
81956521.74	-66.8455658
82173913.04	-67.27075958
82391304.35	-67.11763
82608695.65	-67.2447052
82826086.96	-67.26112366
83043478.26	-67.17750549
83260869.57	-67.30062866
83478260.87	-67.22668457
83695652.17	-67.02869415
83913043.48	-67.23131561
84130434.78	-67.32875061
84347826.09	-67.3419342
84565217.39	-66.92152405
84782608.7	-67.2603302
85000000	-66.88532257
85217391.3	-67.21469116
85434782.61	-66.93331909
85652173.91	-67.32209778
85869565.22	-67.14967346
86086956.52	-66.98880768
86304347.83	-67.6025238
86521739.13	-67.26142883
86739130.43	-67.22913361
86956521.74	-67.27033997
87173913.04	-67.26866913
87391304.35	-67.13179016
87608695.65	-67.40303802
87826086.96	-67.54755402
88043478.26	-66.98747253
88260869.57	-67.25521851
88478260.87	-67.44530487
88695652.17	-67.38326263
88913043.48	-67.23750305
89130434.78	-67.20688629
89347826.09	-67.52664948
89565217.39	-67.38044739
89782608.7	-67.12821198
90000000	-67.31840515
90217391.3	-67.46735382
90434782.61	-67.25799561
90652173.91	-67.4050827
90869565.22	-67.661026
91086956.52	-67.40663147
91304347.83	-67.38905334
91521739.13	-67.64031982
91739130.43	-67.40558624
91956521.74	-67.38954163
92173913.04	-67.15190887
92391304.35	-67.35873413
92608695.65	-67.43934631
92826086.96	-67.40393066
93043478.26	-66.83376312
93260869.57	-67.13340759
93478260.87	-67.59422302
93695652.17	-67.03617096
93913043.48	-67.41474915
94130434.78	-67.17327881
94347826.09	-66.99552917
94565217.39	-66.75743103
94782608.7	-66.88911438
95000000	-67.02787781
95217391.3	-67.20239258
95434782.61	-67.17549133
95652173.91	-67.51125336
95869565.22	-67.50124359
96086956.52	-67.47283173
96304347.83	-67.6791153
96521739.13	-67.43161774
96739130.43	-67.62464905
96956521.74	-67.24044037
97173913.04	-67.1872406
97391304.35	-67.60081482
97608695.65	-67.75641632
97826086.96	-67.46346283
98043478.26	-67.41679382
98260869.57	-67.30984497
98478260.87	-67.33563232
98695652.17	-67.39733124
98913043.48	-67.2767334
99130434.78	-67.67199707
99347826.09	-67.04612732
99565217.39	-67.54666138
99782608.7	-67.63548279
100000000	-67.63426971